## DATA
NUTRIENT ANALYTICAL SERVICES LABORATORY DATA REPORT
Chesapeake Biological Laboratory
146 Williams Street / P.O. Box 38
Tel: 410-326-7252
http://www.umces.edu/nutrient-analytical-services-laboratory
Jerome M. Frank- Laboratory Manager
NELAC Certification #: | 12066
Date of Issue: | 2017-06-28
Client: | HBOI/WHOI
Project ID:
Reference #:
POC: | Lapointe/McGillicuddy
Address:
Qualifiers/
Sample ID | Sample Date | Received Date | NASL ID | Matrix | Prep Date | Analysis Date | Parameter | <MDL/RL | Result | Unit | MDL/RL | Method | Analyst | Comments
C1N1 |  | 2019-10-02 | C1N1 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N2 |  | 2019-10-02 | C1N2 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N3 |  | 2019-10-02 | C1N3 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N4 |  | 2019-10-02 | C1N4 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N5 |  | 2019-10-02 | C1N5 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N6 |  | 2019-10-02 | C1N6 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N7 |  | 2019-10-02 | C1N7 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N8 |  | 2019-10-02 | C1N8 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N9 |  | 2019-10-02 | C1N9 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N10 |  | 2019-10-02 | C1N10 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N11 |  | 2019-10-02 | C1N11 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N12 |  | 2019-10-02 | C1N12 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N13 |  | 2019-10-02 | C1N13 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N14 |  | 2019-10-02 | C1N14 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N15 |  | 2019-10-02 | C1N15 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N16 |  | 2019-10-02 | C1N16 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N17 |  | 2019-10-02 | C1N17 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N1 |  | 2019-10-02 | C2N1 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N2 |  | 2019-10-02 | C2N2 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N3 |  | 2019-10-02 | C2N3 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N4 |  | 2019-10-02 | C2N4 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N5 |  | 2019-10-02 | C2N5 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N6 |  | 2019-10-02 | C2N6 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N7 |  | 2019-10-02 | C2N7 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N8 |  | 2019-10-02 | C2N8 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N9 |  | 2019-10-02 | C2N9 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N10 |  | 2019-10-02 | C2N10 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N11 |  | 2019-10-02 | C2N11 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N12 |  | 2019-10-02 | C2N12 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N13 |  | 2019-10-02 | C2N13 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N14 |  | 2019-10-02 | C2N14 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N15 |  | 2019-10-02 | C2N15 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N16 |  | 2019-10-02 | C2N16 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N17 |  | 2019-10-02 | C2N17 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N1 |  | 2019-10-02 | C3N1 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N2 |  | 2019-10-02 | C3N2 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N3 |  | 2019-10-02 | C3N3 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N4 |  | 2019-10-02 | C3N4 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N5 |  | 2019-10-02 | C3N5 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N6 |  | 2019-10-02 | C3N6 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N7 |  | 2019-10-02 | C3N7 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N8 |  | 2019-10-02 | C3N8 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N9 |  | 2019-10-02 | C3N9 | W | 2019-10-08 | 2019-10-08 | NH4 | BR | 0.951 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N10 |  | 2019-10-02 | C3N10 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N11 |  | 2019-10-02 | C3N11 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N12 |  | 2019-10-02 | C3N12 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N13 |  | 2019-10-02 | C3N13 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N14 |  | 2019-10-02 | C3N14 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N15 |  | 2019-10-02 | C3N15 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N16 |  | 2019-10-02 | C3N16 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N17 |  | 2019-10-02 | C3N17 | W | 2019-10-08 | 2019-10-08 | NH4 | L/BR | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N1 |  | 2019-10-02 | C1N1 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.3518 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N2 |  | 2019-10-02 | C1N2 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.088 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N3 |  | 2019-10-02 | C1N3 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.8265 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N4 |  | 2019-10-02 | C1N4 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.9414 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N5 |  | 2019-10-02 | C1N5 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.011 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N6 |  | 2019-10-02 | C1N6 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.7735 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N7 |  | 2019-10-02 | C1N7 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.6498 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N8 |  | 2019-10-02 | C1N8 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.5282 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N9 |  | 2019-10-02 | C1N9 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.1803 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N10 |  | 2019-10-02 | C1N10 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 0.7816 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N11 |  | 2019-10-02 | C1N11 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 0.4194 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N12 |  | 2019-10-02 | C1N12 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N13 |  | 2019-10-02 | C1N13 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N14 |  | 2019-10-02 | C1N14 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N15 |  | 2019-10-02 | C1N15 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N16 |  | 2019-10-02 | C1N16 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N17 |  | 2019-10-02 | C1N17 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N1 |  | 2019-10-02 | C2N1 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.4893 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N2 |  | 2019-10-02 | C2N2 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.0573 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N3 |  | 2019-10-02 | C2N3 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.0042 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N4 |  | 2019-10-02 | C2N4 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.1314 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N5 |  | 2019-10-02 | C2N5 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.8757 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N6 |  | 2019-10-02 | C2N6 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.9252 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N7 |  | 2019-10-02 | C2N7 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.6994 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N8 |  | 2019-10-02 | C2N8 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.2382 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N9 |  | 2019-10-02 | C2N9 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 0.9583 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N10 |  | 2019-10-02 | C2N10 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 0.3469 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N11 |  | 2019-10-02 | C2N11 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N12 |  | 2019-10-02 | C2N12 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N13 |  | 2019-10-02 | C2N13 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N14 |  | 2019-10-02 | C2N14 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N15 |  | 2019-10-02 | C2N15 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N16 |  | 2019-10-02 | C2N16 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N17 |  | 2019-10-02 | C2N17 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N1 |  | 2019-10-02 | C3N1 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.4456 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N2 |  | 2019-10-02 | C3N2 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.1977 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N3 |  | 2019-10-02 | C3N3 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.1032 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N4 |  | 2019-10-02 | C3N4 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 2.1032 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N5 |  | 2019-10-02 | C3N5 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.7715 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N6 |  | 2019-10-02 | C3N6 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.6482 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N7 |  | 2019-10-02 | C3N7 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 1.4854 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N8 |  | 2019-10-02 | C3N8 | W | 2019-10-07 | 2019-10-07 | PO4 |  | 0.8861 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N9 |  | 2019-10-02 | C3N9 | W | 2019-10-07 | 2019-10-07 | PO4 | BR | 0.268 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N10 |  | 2019-10-02 | C3N10 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N11 |  | 2019-10-02 | C3N11 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N12 |  | 2019-10-02 | C3N12 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N13 |  | 2019-10-02 | C3N13 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N14 |  | 2019-10-02 | C3N14 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N15 |  | 2019-10-02 | C3N15 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N16 |  | 2019-10-02 | C3N16 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N17 |  | 2019-10-02 | C3N17 | W | 2019-10-07 | 2019-10-07 | PO4 | L/BR | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N1 |  | 2019-10-02 | C1N1 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 35.0357 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N2 |  | 2019-10-02 | C1N2 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 33.8571 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N3 |  | 2019-10-02 | C1N3 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 25.7857 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N4 |  | 2019-10-02 | C1N4 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 30.5714 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N5 |  | 2019-10-02 | C1N5 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 29.6429 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N6 |  | 2019-10-02 | C1N6 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 27.9286 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N7 |  | 2019-10-02 | C1N7 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 26.8571 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N8 |  | 2019-10-02 | C1N8 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 22.6429 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N9 |  | 2019-10-02 | C1N9 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 19.5714 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N10 |  | 2019-10-02 | C1N10 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 12.3571 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N11 |  | 2019-10-02 | C1N11 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 9.5 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N12 |  | 2019-10-02 | C1N12 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 1.2286 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C1N13 |  | 2019-10-02 | C1N13 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 0.79286 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C1N14 |  | 2019-10-02 | C1N14 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.16429 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C1N15 |  | 2019-10-02 | C1N15 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.23571 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C1N16 |  | 2019-10-02 | C1N16 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.14286 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C1N17 |  | 2019-10-02 | C1N17 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.29286 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C2N1 |  | 2019-10-02 | C2N1 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 36.9286 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N2 |  | 2019-10-02 | C2N2 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 32.2857 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N3 |  | 2019-10-02 | C2N3 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 27.9286 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N4 |  | 2019-10-02 | C2N4 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 33.1429 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N5 |  | 2019-10-02 | C2N5 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 26.8571 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N6 |  | 2019-10-02 | C2N6 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 29.9286 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N7 |  | 2019-10-02 | C2N7 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 27.0714 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N8 |  | 2019-10-02 | C2N8 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 20.5 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N9 |  | 2019-10-02 | C2N9 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 15.3571 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N10 |  | 2019-10-02 | C2N10 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 7.7143 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N11 |  | 2019-10-02 | C2N11 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 1.1214 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C2N12 |  | 2019-10-02 | C2N12 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.21429 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C2N13 |  | 2019-10-02 | C2N13 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.17857 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C2N14 |  | 2019-10-02 | C2N14 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 0.69286 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C2N15 |  | 2019-10-02 | C2N15 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.29286 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C2N16 |  | 2019-10-02 | C2N16 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 0.60714 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C2N17 |  | 2019-10-02 | C2N17 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.28571 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N1 |  | 2019-10-02 | C3N1 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 34.5 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N2 |  | 2019-10-02 | C3N2 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 30.3571 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N3 |  | 2019-10-02 | C3N3 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 34.6429 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N4 |  | 2019-10-02 | C3N4 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 29.1429 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N5 |  | 2019-10-02 | C3N5 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 21.3571 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N6 |  | 2019-10-02 | C3N6 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 25.0714 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N7 |  | 2019-10-02 | C3N7 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 22.5714 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N8 |  | 2019-10-02 | C3N8 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 14.1429 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N9 |  | 2019-10-02 | C3N9 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 4.6871 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N10 |  | 2019-10-02 | C3N10 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 0.89286 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N11 |  | 2019-10-02 | C3N11 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.27857 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N12 |  | 2019-10-02 | C3N12 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 1.0786 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N13 |  | 2019-10-02 | C3N13 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.35714 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N14 |  | 2019-10-02 | C3N14 | W | 2019-10-08 | 2019-10-08 | NO23 | BR | 0.25714 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N15 |  | 2019-10-02 | C3N15 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 0.4 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N16 |  | 2019-10-02 | C3N16 | W | 2019-10-08 | 2019-10-08 | NO23 |  | 0.87857 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N17 |  | 2019-10-02 | C3N17 | W | 2019-10-07 | 2019-10-07 | NO23 |  | 3.095 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
35
C1N1 |  | 2019-10-02 | C1N1 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.69 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N2 |  | 2019-10-02 | C1N2 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.58 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N3 |  | 2019-10-02 | C1N3 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.23 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N4 |  | 2019-10-02 | C1N4 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.36 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N5 |  | 2019-10-02 | C1N5 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.17 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N6 |  | 2019-10-02 | C1N6 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.04 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N7 |  | 2019-10-02 | C1N7 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.87 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N8 |  | 2019-10-02 | C1N8 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.72 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N9 |  | 2019-10-02 | C1N9 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.35 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N10 |  | 2019-10-02 | C1N10 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.02 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N11 |  | 2019-10-02 | C1N11 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.64 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N12 |  | 2019-10-02 | C1N12 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.27 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N13 |  | 2019-10-02 | C1N13 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.25 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N14 |  | 2019-10-02 | C1N14 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.2 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N15 |  | 2019-10-02 | C1N15 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.21 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N16 |  | 2019-10-02 | C1N16 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.21 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N17 |  | 2019-10-02 | C1N17 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.2 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N1 |  | 2019-10-02 | C2N1 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.75 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N2 |  | 2019-10-02 | C2N2 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.54 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N3 |  | 2019-10-02 | C2N3 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.27 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N4 |  | 2019-10-02 | C2N4 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.52 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N5 |  | 2019-10-02 | C2N5 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N6 |  | 2019-10-02 | C2N6 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.29 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N7 |  | 2019-10-02 | C2N7 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.05 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N8 |  | 2019-10-02 | C2N8 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.6 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N9 |  | 2019-10-02 | C2N9 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.25 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N10 |  | 2019-10-02 | C2N10 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.66 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N11 |  | 2019-10-02 | C2N11 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.26 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N12 |  | 2019-10-02 | C2N12 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.22 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N13 |  | 2019-10-02 | C2N13 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.22 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N14 |  | 2019-10-02 | C2N14 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.19 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N15 |  | 2019-10-02 | C2N15 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.19 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N16 |  | 2019-10-02 | C2N16 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.2 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N17 |  | 2019-10-02 | C2N17 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.17 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N1 |  | 2019-10-02 | C3N1 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.48 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N2 |  | 2019-10-02 | C3N2 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.49 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N3 |  | 2019-10-02 | C3N3 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.41 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N4 |  | 2019-10-02 | C3N4 | W | 2019-10-04 | 2019-10-09 | TDP |  | 2.38 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N5 |  | 2019-10-02 | C3N5 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.95 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N6 |  | 2019-10-02 | C3N6 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.98 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N7 |  | 2019-10-02 | C3N7 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.74 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N8 |  | 2019-10-02 | C3N8 | W | 2019-10-04 | 2019-10-09 | TDP |  | 1.08 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N9 |  | 2019-10-02 | C3N9 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.51 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N10 |  | 2019-10-02 | C3N10 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.23 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N11 |  | 2019-10-02 | C3N11 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.31 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N12 |  | 2019-10-02 | C3N12 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.3 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N13 |  | 2019-10-02 | C3N13 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.28 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N14 |  | 2019-10-02 | C3N14 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.27 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N15 |  | 2019-10-02 | C3N15 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.24 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N16 |  | 2019-10-02 | C3N16 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.28 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N17 |  | 2019-10-02 | C3N17 | W | 2019-10-04 | 2019-10-09 | TDP |  | 0.28 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
35
C1N1 |  | 2019-10-02 | C1N1 | W | 2019-10-04 | 2019-10-09 | TDN |  | 40.71 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N2 |  | 2019-10-02 | C1N2 | W | 2019-10-04 | 2019-10-09 | TDN |  | 39.29 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N3 |  | 2019-10-02 | C1N3 | W | 2019-10-04 | 2019-10-09 | TDN |  | 31.43 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N4 |  | 2019-10-02 | C1N4 | W | 2019-10-04 | 2019-10-09 | TDN |  | 37.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N5 |  | 2019-10-02 | C1N5 | W | 2019-10-04 | 2019-10-09 | TDN |  | 36.43 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N6 |  | 2019-10-02 | C1N6 | W | 2019-10-04 | 2019-10-09 | TDN |  | 35 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N7 |  | 2019-10-02 | C1N7 | W | 2019-10-04 | 2019-10-09 | TDN |  | 32.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N8 |  | 2019-10-02 | C1N8 | W | 2019-10-04 | 2019-10-09 | TDN |  | 30 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N9 |  | 2019-10-02 | C1N9 | W | 2019-10-04 | 2019-10-09 | TDN |  | 27.14 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N10 |  | 2019-10-02 | C1N10 | W | 2019-10-04 | 2019-10-09 | TDN |  | 20 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N11 |  | 2019-10-02 | C1N11 | W | 2019-10-04 | 2019-10-09 | TDN |  | 15.71 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N12 |  | 2019-10-02 | C1N12 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N13 |  | 2019-10-02 | C1N13 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N14 |  | 2019-10-02 | C1N14 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N15 |  | 2019-10-02 | C1N15 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N16 |  | 2019-10-02 | C1N16 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C1N17 |  | 2019-10-02 | C1N17 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N1 |  | 2019-10-02 | C2N1 | W | 2019-10-04 | 2019-10-09 | TDN |  | 42.14 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N2 |  | 2019-10-02 | C2N2 | W | 2019-10-04 | 2019-10-09 | TDN |  | 38.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N3 |  | 2019-10-02 | C2N3 | W | 2019-10-04 | 2019-10-09 | TDN |  | 35 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N4 |  | 2019-10-02 | C2N4 | W | 2019-10-04 | 2019-10-09 | TDN |  | 40.71 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N5 |  | 2019-10-02 | C2N5 | W | 2019-10-04 | 2019-10-09 | TDN |  | 35 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N6 |  | 2019-10-02 | C2N6 | W | 2019-10-04 | 2019-10-09 | TDN |  | 37.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N7 |  | 2019-10-02 | C2N7 | W | 2019-10-04 | 2019-10-09 | TDN |  | 33.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N8 |  | 2019-10-02 | C2N8 | W | 2019-10-04 | 2019-10-09 | TDN |  | 27.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N9 |  | 2019-10-02 | C2N9 | W | 2019-10-04 | 2019-10-09 | TDN |  | 22.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N10 |  | 2019-10-02 | C2N10 | W | 2019-10-04 | 2019-10-09 | TDN |  | 13.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N11 |  | 2019-10-02 | C2N11 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N12 |  | 2019-10-02 | C2N12 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N13 |  | 2019-10-02 | C2N13 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 9.29 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N14 |  | 2019-10-02 | C2N14 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N15 |  | 2019-10-02 | C2N15 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 10 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N16 |  | 2019-10-02 | C2N16 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N17 |  | 2019-10-02 | C2N17 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 9.29 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N1 |  | 2019-10-02 | C3N1 | W | 2019-10-04 | 2019-10-09 | TDN |  | 42.14 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N2 |  | 2019-10-02 | C3N2 | W | 2019-10-04 | 2019-10-09 | TDN |  | 37.14 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N3 |  | 2019-10-02 | C3N3 | W | 2019-10-04 | 2019-10-09 | TDN |  | 41.43 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N4 |  | 2019-10-02 | C3N4 | W | 2019-10-04 | 2019-10-09 | TDN |  | 38.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N5 |  | 2019-10-02 | C3N5 | W | 2019-10-04 | 2019-10-09 | TDN |  | 30 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N6 |  | 2019-10-02 | C3N6 | W | 2019-10-04 | 2019-10-09 | TDN |  | 31.43 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N7 |  | 2019-10-02 | C3N7 | W | 2019-10-04 | 2019-10-09 | TDN |  | 29.29 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N8 |  | 2019-10-02 | C3N8 | W | 2019-10-04 | 2019-10-09 | TDN |  | 21.43 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N9 |  | 2019-10-02 | C3N9 | W | 2019-10-04 | 2019-10-09 | TDN |  | 13.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N10 |  | 2019-10-02 | C3N10 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N11 |  | 2019-10-02 | C3N11 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N12 |  | 2019-10-02 | C3N12 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 9.29 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N13 |  | 2019-10-02 | C3N13 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N14 |  | 2019-10-02 | C3N14 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N15 |  | 2019-10-02 | C3N15 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N16 |  | 2019-10-02 | C3N16 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 8.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N17 |  | 2019-10-02 | C3N17 | W | 2019-10-04 | 2019-10-09 | TDN | BR | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
The following person accepts responsibility for the contents of this report:
Name:_Jerome M Frank____________________Signature:__JMF___________________________________________________________Date:____10/21/2019__________

## QAQC
Sample ID | Sample Date | Received Date | NASL ID | Prep Date | Analysis Date | Parameter | Dup 1 | Dup 2 | Unit | MDL/RL | Method | Analyst | Comments
C2N3 |  | 2019-10-02 | C2N3 | 2019-10-08 | 2019-10-08 | NH4 | 0.929 | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N6 |  | 2019-10-02 | C3N6 | 2019-10-08 | 2019-10-08 | NH4 | 0.929 | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N3 |  | 2019-10-02 | C2N3 | 2019-10-07 | 2019-10-07 | PO4 | 2.0411 | 1.9673 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N6 |  | 2019-10-02 | C3N6 | 2019-10-07 | 2019-10-07 | PO4 | 1.7233 | 1.5731 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N11 |  | 2019-10-02 | C3N11 | 2019-10-08 | 2019-10-08 | NO23 | 0.25714 | 0.3 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35,BR
C1N1 |  | 2019-10-02 | C1N1 | 2019-10-07 | 2019-10-07 | NO23 | 34.9286 | 35.1429 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N4 |  | 2019-10-02 | C2N4 | 2019-10-07 | 2019-10-07 | NO23 | 33 | 33.2857 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N8 |  | 2019-10-02 | C3N8 | 2019-10-07 | 2019-10-07 | NO23 | 14.2857 | 13.9286 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C1N7 |  | 2019-10-02 | C1N7 | 2019-10-04 | 2019-10-09 | TDP | 1.83 | 1.92 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N9 |  | 2019-10-02 | C2N9 | 2019-10-04 | 2019-10-09 | TDP | 1.25 | 1.26 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N11 |  | 2019-10-02 | C3N11 | 2019-10-04 | 2019-10-09 | TDP | 0.32 | 0.31 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C1N7 |  | 2019-10-02 | C1N7 | 2019-10-04 | 2019-10-09 | TDN | 32.86 | 32.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C2N9 |  | 2019-10-02 | C2N9 | 2019-10-04 | 2019-10-09 | TDN | 23.57 | 22.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N11 |  | 2019-10-02 | C3N11 | 2019-10-04 | 2019-10-09 | TDN | 8.57 | 7.86 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
Sample ID | Sample Date | Received Date | NASL ID | Prep Date | Analysis Date | Parameter | Actual | Expected | Original | Unit | MDL/RL | Method | Analyst | Comments
C1N7 |  | 2019-10-02 | C1N7 | 2019-10-08 | 2019-10-08 | NH4 | 6.374 | 6.9809 | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N16 |  | 2019-10-02 | C1N16 | 2019-10-08 | 2019-10-08 | NH4 | 6.598 | 6.9809 | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N8 |  | 2019-10-02 | C2N8 | 2019-10-08 | 2019-10-08 | NH4 | 6.599 | 6.9809 | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C2N17 |  | 2019-10-02 | C2N17 | 2019-10-08 | 2019-10-08 | NH4 | 7.554 | 6.9809 | 0.929 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C3N9 |  | 2019-10-02 | C3N9 | 2019-10-08 | 2019-10-08 | NH4 | 7.08 | 7.0009 | 0.951 | µM N | 0.929/2.786 | SM4500G | CLH | 35
C1N7 |  | 2019-10-02 | C1N7 | 2019-10-07 | 2019-10-07 | PO4 | 2.7583 | 2.5942 | 1.6498 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N16 |  | 2019-10-02 | C1N16 | 2019-10-07 | 2019-10-07 | PO4 | 1.1528 | 1.1944 | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N8 |  | 2019-10-02 | C2N8 | 2019-10-07 | 2019-10-07 | PO4 | 2.3408 | 2.22 | 1.2382 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C2N17 |  | 2019-10-02 | C2N17 | 2019-10-07 | 2019-10-07 | PO4 | 1.1595 | 1.1944 | 0.11 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C3N9 |  | 2019-10-02 | C3N9 | 2019-10-07 | 2019-10-07 | PO4 | 1.4576 | 1.338 | 0.268 | µM P | 0.1100/0.3301 | EPA 365.1 | CLH | 35
C1N13 |  | 2019-10-02 | C1N13 | 2019-10-08 | 2019-10-08 | NO23 | 3.1571 | 2.9929 | 0.79286 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C3N15 |  | 2019-10-02 | C3N15 | 2019-10-08 | 2019-10-08 | NO23 | 2.9929 | 2.6357 | 0.4 | µM N | 0.05/0.4 | EPA 353.2 CADMIUM | KB | 35
C1N11 |  | 2019-10-02 | C1N11 | 2019-10-07 | 2019-10-07 | NO23 | 79.4571 | 76.7883 | 9.4671 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C3N5 |  | 2019-10-02 | C3N5 | 2019-10-07 | 2019-10-07 | NO23 | 95.3871 | 87.6078 | 21.3686 | µM N | 0.407/2 | ASTM D-7781 | JM | 35
C2N2 |  | 2019-10-02 | C2N2 | 2019-10-04 | 2019-10-09 | TDP | 4.36 | 4.06 | 2.54 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C3N1 |  | 2019-10-02 | C3N1 | 2019-10-04 | 2019-10-09 | TDP | 4.49 | 4 | 2.48 | µM P | 0.11/0.15 | EPA 365.1 | KB | 35
C2N2 |  | 2019-10-02 | C2N2 | 2019-10-04 | 2019-10-09 | TDN | 63.57 | 64.29 | 38.57 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
C3N1 |  | 2019-10-02 | C3N1 | 2019-10-04 | 2019-10-09 | TDN | 67.14 | 67.14 | 42.14 | µM N | 3.57/10.71 | EPA 353.2 | KB | 35
QAQC | Preparation | Analysis | Parameter | Expected | Actual
NAME | Date | Date
ICV 1.26 | 2019-10-07 | 2019-10-08 | NH4 | 90 | 89.982
CCV 1.26 | 2019-10-07 | 2019-10-08 | NH4 | 90 | 95.746
CCV 1.26 | 2019-10-07 | 2019-10-08 | NH4 | 90 | 98.266
ICV 0.126 | 2019-10-07 | 2019-10-08 | NH4 | 9 | 9.606
CCV 0.126 | 2019-10-07 | 2019-10-08 | NH4 | 9 | 9.804
CCV 0.126 | 2019-10-07 | 2019-10-08 | NH4 | 9 | 9.632
CCV 0.126 | 2019-10-07 | 2019-10-08 | NH4 | 9 | 9.706
CRM | 2019-07-12 | 2019-10-08 | NH4 | 5.1429 | 5.04
CRM | 2019-07-12 | 2019-10-08 | NH4 | 5.1429 | 5.316
CRM | 2019-07-12 | 2019-10-08 | NH4 | 5.1429 | 5.424
CRM | 2019-07-12 | 2019-10-08 | NH4 | 5.1429 | 5.554
ICV 1.116 | 2019-10-02 | 2019-10-07 | PO4 | 36.1165 | 36.1511
CCV 1.116 | 2019-10-02 | 2019-10-07 | PO4 | 36.1165 | 36.7498
CCV 1.116 | 2019-10-02 | 2019-10-07 | PO4 | 36.1165 | 37.0074
ICV 0.1488 | 2019-10-02 | 2019-10-07 | PO4 | 4.8155 | 5.0181
CCV 0.1488 | 2019-10-02 | 2019-10-07 | PO4 | 4.8155 | 5.0984
CCV 0.1488 | 2019-10-02 | 2019-10-07 | PO4 | 4.8155 | 4.7641
ICV 0.0372 | 2019-10-02 | 2019-10-07 | PO4 | 1.2039 | 1.2356
CCV 0.0372 | 2019-10-02 | 2019-10-07 | PO4 | 1.2039 | 1.1602
CCV 0.0372 | 2019-10-02 | 2019-10-07 | PO4 | 1.2039 | 1.1893
CCV 0.0372 | 2019-10-02 | 2019-10-07 | PO4 | 1.2039 | 1.2223
CRM | 2019-07-12 | 2019-10-07 | PO4 | 0.47249 | 0.4531
CRM | 2019-07-12 | 2019-10-07 | PO4 | 0.47249 | 0.435
CRM | 2019-07-12 | 2019-10-07 | PO4 | 0.47249 | 0.4534
CRM | 2019-07-12 | 2019-10-07 | PO4 | 0.47249 | 0.4634
CRM/ICV | 2019-07-12 | 2019-10-08 | NO23 | 5.0357 | 4.9632
CRM | 2019-07-12 | 2019-10-08 | NO23 | 5.0357 | 5.031
CRM | 2019-07-12 | 2019-10-08 | NO23 | 5.0357 | 5.1394
CRM | 2019-07-12 | 2019-10-08 | NO23 | 5.0357 | 5.0716
CRM | 2019-07-12 | 2019-10-08 | NO23 | 5.0357 | 5.1529
CRM | 2019-07-12 | 2019-10-08 | NO23 | 5.0357 | 5.1801
CRM | 2019-07-12 | 2019-10-08 | NO23 | 5.0357 | 5.1258
CRM | 2019-07-12 | 2019-10-08 | NO23 | 5.0357 | 5.1801
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.8909
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.8457
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.9089
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.9406
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.9812
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.9541
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.936
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.9496
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.9044
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.9315
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.8547
CCV | 2019-10-02 | 2019-10-08 | NO23 | 4 | 3.8457
0.14 ICV | 2019-09-20 | 2019-10-07 | NO23 | 10 | 10.3414
0.14 CCV | 2019-09-20 | 2019-10-07 | NO23 | 10 | 10.19
0.14 CCV | 2019-09-20 | 2019-10-07 | NO23 | 10 | 10.6443
0.14 CCV | 2019-09-20 | 2019-10-07 | NO23 | 10 | 10.4657
0.49 ICV | 2019-09-24 | 2019-10-07 | NO23 | 35 | 35.9193
0.49 CCV | 2019-09-24 | 2019-10-07 | NO23 | 35 | 36.3679
0.49 CCV | 2019-09-24 | 2019-10-07 | NO23 | 35 | 36.9836
0.49 CCV | 2019-09-24 | 2019-10-07 | NO23 | 35 | 36.9607
2.8 ICV | 2019-09-04 | 2019-10-07 | NO23 | 200 | 213.1343
2.8 CCV | 2019-09-04 | 2019-10-07 | NO23 | 200 | 218.2107
2.8 CCV | 2019-09-04 | 2019-10-07 | NO23 | 200 | 219.885
2.8 CCV | 2019-09-04 | 2019-10-07 | NO23 | 200 | 216.8593
CRM | 2019-07-12 | 2019-10-07 | NO23 | 5.0357 | 5.2171
CRM | 2019-07-12 | 2019-10-07 | NO23 | 5.0357 | 5.52
CRM | 2019-07-12 | 2019-10-07 | NO23 | 5.0357 | 5.355
CRM | 2019-07-12 | 2019-10-07 | NO23 | 5.0357 | 5.6014 | QC3
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05312
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05376
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05501
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05489
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05502
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05685
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05626
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05554
CCV | 2019-10-04 | 2019-10-09 | TDP | 0.05 | 0.05527
CRM ICV | 2019-06-10 | 2019-10-09 | TDP | 0.07 | 0.07416
CRM | 2019-06-10 | 2019-10-09 | TDP | 0.07 | 0.07429
Blank | 2019-10-04 | 2019-10-09 | TDP | 0 | 0.00096
Blank | 2019-10-04 | 2019-10-09 | TDP | 0 | 0.00049
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3621
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.363
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3654
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3675
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3651
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3676
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3666
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3639
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3641
CCV | 2019-10-04 | 2019-10-09 | TDN | 0.35 | 0.3652
CRM ICV | 2019-10-04 | 2019-10-09 | TDN | 0.66 | 0.7463 | QC3
CRM | 2019-10-04 | 2019-10-09 | TDN | 0.66 | 0.7546 | QC3
Blank | 2019-10-04 | 2019-10-09 | TDN | 0 | 0.0019
Blank | 2019-10-04 | 2019-10-09 | TDN | 0 | -0.0034

## Data Dictionary
NASL Data Dictionary
Data Report Column Descriptions
Column | Title | Description
A | Sample ID | Sample identifier provided by client, usually indicate on COC and/or sample vessel
B | Sample Date | Date sample was taken or produced, usually indicated on COC and/or sample vessel
C | Received Date | Date sample arrived at NASL/CBL and entered the analysis queue
D | NASL ID | Sample identifier created by NASL, cross-referenced to COC and/or sample vessel
E | Matrix | Sample matrix: W = water, S = sediment, P = particulate, Q = laboratory QAQC. See table of CBL QAQC Terms below.
F | Prep Date | Some analytical methods require a digestion, extraction, or other form of processing to prepare the sample for analysis. This will coincide with analysis date for some paramters.
G | Analysis Date | Date final analysis performed. This will coincide with prep date for some parameters.
H | Parameter | Target analyte of analysis. See NASL Paramter table below
I | < MDL / RL | An "L" or "U" denoting the sample concentration is less than the stated MDL. MDL reported if "L". Actual value reported if "U". A "BR" denoting concentration less than the stated reporting limit.
J | Result | Analytical value
K | Units | Concentration description of analytical value. Typically milligrams (or microgram) of element (or compound) per liter of sample, or percent of element in sample. Ex: mg N/L, ug Chl/L, or %P.
L | MDL / RL | Method detection limit (MDL), see description below. Reporting limit (RL), see SOPs.
M | Method | Analytical method number
N | Analyst | Initials of analyst.
O | Qualifiers/Comments | Codes to indicate if any problems existed with the sample collection, preservation, transport, or analysis. See table of "CBL Data Qualifiers" below.
O | Qualifiers/Comments | Any observations or special considerations not covered by "Qualifiers"
Column P - CBL Data Qualifiers | Description
1 | Laboratory accident.
2 | Insufficient sample - typically inadequate liquid volume or sediment mass required for requested analysis
3 | Analysis conducted by another laboratory
4 | Sample frozen when received (should have arrived un-frozen)
5 | Sample received thawed (should have arrived frozen)
6 | Sample not received, … or sample lost.ie. Broken sample container.
7 | Lost results
8 | Sample contaminated
9 | Sample results rejected due to quality control criteria
10 | Sample not preserved properly
11 | Analyzed in duplicate, results below detection limit
12 | Instrument failure
13 | Foil pouch very wet (salty) when received from field; mean reported
14 | Poor replication between pads, mean reported
15 | Sample size not reported - either mass or volume
16 | Sample mislabeled
17 | Over 20% of sample ahered to pouch and outside of pad
18 | Sample not collected
19 | Torn filter pad
20 | Pad unfolded in foil pouch
21 | Particulates found in filtered sample
22 | Assumed sample volume, usually based on COC (pouch vol used if different from COC) and only when verfication with sampler is not possible
23 | Value exceeds a theoretical equivalent, but is within analytical precision
24 | Is greater than the acid persulfate total phosphorus by less than or equal to 0.01 MG P/L
27 | If NO2 > NO23 by </= 0.0019 MG N/L at STD. CAL of 9.0 for both, or </= 0.0030 MG N/L at a STD. CAL of 9.0 for NO2 and a STD CAL of 6.0 for NO23
28 | Dissolved organic carbon > total organic carbon, Total Dissolved Phosphorus > Total Phosphorus, Total Dissolved Nitrogen > Total Nitrogen
29 | TVS > TSS
30 | Samples received more than 28 days from date of collection
31 | Samples received within 28 days of collection, but analysis within 28 days of collection not practical
32 | Samples not analyzed within 28 days of collection
33 | Original analysis performed within 28 days of collection, but reanalysis/reported results performed after 28 days of collection due to instrument failures, concentration range changes, QA/QC failures, or time constraints.
34 | BOD final readings not taken at the 5 day ± 3 hour threshold.
35 | Sample collection data (such as collection date and time) omitted by client. As a result NASL not responsible for method specified holding times.
U | Value below method detection limit (MDL). Actual observed value reported.
L | Value below method detection limit (MDL). Method detection limit reported.
BR | Value below method reporting limit (RL). Actual observed value reported.
CBL QC Data Qualifiers | Description
QC1 | Spike recovery is outside ± 10%
QC2 | Duplicates are not within ± 10%
QC3 | CRM value is not within ± 10% of the expected value
QC4 | CCV value is not within ± 10% of the expected value
CBL QAQC Terms | Short name | Description
Initial calibration verification | ICV | Initial check standards run after the calibration curve
Continuing calibration verification | CCV | Check standards run at set points during the analysis
Certified reference material | CRM | Certified standard reference material purchased from an outside vendor.
Spike | SPK | Analytical sample which has been spiked with a known concentration.
Duplicate | DUP | Laboratory or field replicate of analytical sample
Blank | BLANK | Blank water, usually ASTM Type I water. Also known as reagent water.
NASL Parameters 2019
Parameter | Parameter - Short name | Units | 2019 MDL | Method | Link to Standard Operating Procedure Document
Nitrite | NO2 | mg N/L | 0.0007 | EPA 353.2
Ammonium | NH4 | mg N/L | 0.013 | Standard Methods 4500-NH3 G-1997
Nitrite + Nitrate (enzyme) | NO23 | mg N/L | 0.0057 | ASTM D-7781/EPA 353.2
Nitrite + Nitrate (cadmium) | NO23 | mg N/L | 0.0007 | Cadmium, EPA 353.2
Nitrate | NO3 | mg N/L | NA | Calculation. [NO23] - [NO2]
Phosphate (orthophosphate) | PO4 | mg P/L | 0.0034 | EPA 365.1
Silicate | Si | mg Si/L | 0.05 | EPA 366.0, SM4500-SIO2 C97,11
Total & Dissolved Organic Carbon | TOC/DOC | mg/L | 0.16 | SM5310B, EPA 415.1
Total Dissolved Nitrogen | TDN | mg/L | 0.05 | Alkaline persulfate digestion, cadmium, EPA 353.2
Total Dissolved Phosphorus | TDP | mg/L | 0.0015 | Alkaline persulfate digestion, EPA 365.1
Total Dissolved Nitrogen (Aquakem) | TDN | mg/L | 0.05 | Alkaline persulfate digestion, ASTM D-7781, EPA 353.2
Total Dissolved Phosphorus (Aquakem) | TDP | mg/L | 0.0015 | Alkaline persulfate digestion, EPA 365.1
Chloride | Cl | mg/L | 0.08 | SM4110B
Sulfate | SO4 | mg/L | 0.09 | SM4110B
Bromide | Br | mg/L | 0.02 | SM4110B
Total Inorganic Carbon | TIC | mg/L | 0.17 | ASTM D-7573-09
Carbonate Alkalinity | ALK | mg/L | 0.75 | Calculation using ASTM D-7573-09
Particulate Phosphorus | PP | mg/L | 0.0021 | Aspila, EPA 365.1
Particulate Inorganic Phosphorus | PIP | mg/L | 0.0021 | Aspila, EPA 365.1
Particulate Nitrogen | PN | mg/L | 0.0263 | EPA 440.0
Particulate Carbon | PC | mg/L | 0.0633 | EPA 440.0
Sediment Particulate Phosphorus | PP | % P | 0.009 | ASPILA, EPA 365.1
Sediment Particulate Nitrogen | PN | % N | 0.01 | EPA 440.0
Sediment Particulate Carbon | PC | % C | 0.13 | EPA 440.0
Biogenic Silica | BiSi | mg/L | 0.03 | EPA 366.0
Chlorophyll, Total (Fluorometer) | CHL-TOTAL | ug/L | 0.68 | EPA 445.0, SM10200H.3
Phaeophytin (Fluorometer) | CHL-PHAEO | ug/L | 0.46 | EPA 445.0, SM10200H.3
Chlorophyll, Active (Fluorometer) | CHL-ACTIVE | ug/L | 0.69 | EPA 445.0, SM10200H.3
Chlorophyll, Sediment Total (Fluorometer) | CHL-SED-TOTAL | mg/m2 | 0.21 | EPA 445.0, SM10200H.3
Phaeophytin, sediment (Fluorometer) | CHL-SED-PHAEO | mg/m2 | 1.17 | EPA 445.0, SM10200H.3
Chlorophyll, Sediment Active (Fluorometer) | CHL-SED-ACTIVE | mg/m2 | 0.71 | EPA 445.0, SM10200H.3
Chlorophyll, Welschmeyer | CHL-NON ACID | ug/L | 0.84 | EPA 445.0, Modified
Chlorophyll (Spectrophotometer) | CHL-CORRECTED | ug/L | 0.62 | EPA 446.0, SM 10200H.2b
Phaeophytin (Spectrophotometer) | CHL-PHAEO | ug/L | 0.74 | EPA 446.0, SM 10200H.2b
Total Suspended Solids | TSS | mg/L | 2.4 | EPA 160.2, SM2540 D-1997
Total Volatile Solids | TVS | mg/L | 0.9 | SM2540
Hardness | HRD | mg/L | 1.35 | EPA 130.1
Dissolved Metals | MET | mg/L | Multiple | EPA 200.7
Suspended Sediment Concentration | SSC | mg/L | TBD | ASTM D-3977-97B
Total Dissolved Solids | TDS | mg/L | TBD | ASTM D-1125-14
Biological Oxygen Demand | BOD | mg/L | NA | SM5210B
Parameter
CHL-TOTAL | TOTAL CHLA BY FLUOROMETER
CHL-PHAEO | PHAEOPHYTIN BY FLUOROMETER
CHL-ACTIVE | ACTIVE CHLA (CORRECTED) BY FLUOROMETER
CHL-NON ACID | TOTAL ACTIVE CHLA WELSCHMEYER METHOD BY FLUORMETER
CHL-SED-TOTAL | TOTAL SEDIMENT CHLA BY FLUOROMETER
CHL-SED-PHAEO | SEDIMENT PHAEOPHYTIN BY FLUOROMETER
CHL-SED-ACTIVE | ACTIVE SEDIMENT CHLA (CORRECTED) BY FLUOROMETER
Matrix
P | PARTICULATE
S | SEDIMENT |  | L = <MDL
W | WATER
EQUATIONS USED TO CALCULATE CHLOROPHYLL a USING EPA METHOD 445.0
TOTAL CHLOROPHYLL a in ug/L
(Rb*Fs*DILUTION*EXTRACT VOL in mls)/VOL FILTERED in mls
ACTIVE CHLOROPHYLL a in ug/L
((Rb-Ra)*(r/r-1)*Fs*DILUTION*EXTRACT VOL in mls)/VOL FILTERED in mls
PHAEOPHYTIN in ug/L
(((Ra*r)-Rb)*(r/r-1)*Fs*DILUTION*EXTRACT VOL in mls)/VOL FILTERED in mls
NON ACID CHLOROPHYLL a WOULD USE THE SAME EQUATION AS TOTAL CHLOROPHYLL a IN ug/L
WHERE:
Rb = RAW FLUORESCENCE (RFU) BEFORE ADDING ACID
Ra = RAW FLUORESCENCE (RFU) AFTER ADDING ACID
Fs = STANDARD CONCENTRATION/RFU
r = ACID RATIO (Rb/Ra)
EQUATIONS USED TO CALCULATE SEDIMENT CHLOROPHYLL a USING EPA METHOD 445.0
TOTAL SEDIMENT CHLOROPHYLL a in mg/m2
(Rb*Fs*DILUTION*EXTRACT VOL in mls)/(AREA of core*100)
ACTIVE SEDIMENT CHLOROPHYLL a in mg/m2
((Rb-Ra)*(r/r-1)*Fs*DILUTION*EXTRACT VOL in mls)/(AREA of core*100)
SEDIMENT PHAEOPHYTIN in mg/m2
(((Ra*r)-Rb)*(r/r-1)*Fs*DILUTION*EXTRACT VOL in mls)/(AREA of core*100)
EQUATIONS USED TO CALCULATE CHLOROPHYLL a USING EPA METHOD 446.0
CORRECTED CHLOROPHYLL a in ug/L
(26.7((664b -750b) - (665a - 750a))*V1)/ (V2*CELL PATH)
PHAEOPHYTIN in ug/L
(((26.7*((1.7(665a-750a))-(664b-750b)))*V1)/(V2*CELL PATH)
WHERE:
664b = ABSORBANCE AT WAVELENGTH BEFORE ADDING ACID
665a = ABSORBANCE AT WAVELENGTH AFTER ADDING ACID
750b and 750a = TURBIDITY BLANK
V1 = EXTRACT VOLUME IN mls
V2 = VOLUME FILTERED IN Liters
CELL PATH = CUVETTE LENGTH IN cm
NASL Quality Manual (QM), NASLDoc-053, NASL Data Dictionary
Effective Date: May 1, 2019
Revision No.: 2019-1
Special Series: SS-114-17 of the University of Maryland Center for Environmental Science

## CHECKS
CHECKS HBOI
SAMPLE # | NO23 | NH4 | TDN | NH4+NO3 | DIFF | SAMPLE # | TDP | PO4 | DIFF
C1N1 | 35.0357 | 0.929 | 40.71 | 35.9647 | 4.7453 |  | 2.69 | 2.3518 | 0.3382
C1N2 | 33.8571 | 0.929 | 39.29 | 34.7861 | 4.5039 |  | 2.58 | 2.088 | 0.492
C1N3 | 25.7857 | 0.929 | 31.43 | 26.7147 | 4.7153 |  | 2.23 | 1.8265 | 0.4035
C1N4 | 30.5714 | 0.929 | 37.86 | 31.5004 | 6.3596 |  | 2.36 | 1.9414 | 0.4186
C1N5 | 29.6429 | 0.929 | 36.43 | 30.5719 | 5.8581 |  | 2.17 | 2.011 | 0.159
C1N6 | 27.9286 | 0.929 | 35 | 28.8576 | 6.1424 |  | 2.04 | 1.7735 | 0.2665
C1N7 | 26.8571 | 0.929 | 32.86 | 27.7861 | 5.0739 |  | 1.87 | 1.6498 | 0.2202
C1N8 | 22.6429 | 0.929 | 30 | 23.5719 | 6.4281 |  | 1.72 | 1.5282 | 0.1918
C1N9 | 19.5714 | 0.929 | 27.14 | 20.5004 | 6.6396 |  | 1.35 | 1.1803 | 0.1697
C1N10 | 12.3571 | 0.929 | 20 | 13.2861 | 6.7139 |  | 1.02 | 0.7816 | 0.2384
C1N11 | 9.5 | 0.929 | 15.71 | 10.429 | 5.281 |  | 0.64 | 0.4194 | 0.2206
C1N12 | 1.2286 | 0.929 | 8.57 | 2.1576 | 6.4124 |  | 0.27 | 0.11 | 0.16
C1N13 | 0.79286 | 0.929 | 7.86 | 1.7219 | 6.1381 |  | 0.25 | 0.11 | 0.14
C1N14 | 0.16429 | 0.929 | 8.57 | 1.0933 | 7.4767 |  | 0.2 | 0.11 | 0.09
C1N15 | 0.23571 | 0.929 | 7.86 | 1.1647 | 6.6953 |  | 0.21 | 0.11 | 0.1
C1N16 | 0.14286 | 0.929 | 7.86 | 1.0719 | 6.7881 |  | 0.21 | 0.11 | 0.1
C1N17 | 0.29286 | 0.929 | 8.57 | 1.2219 | 7.3481 |  | 0.2 | 0.11 | 0.09
C2N1 | 36.9286 | 0.929 | 42.14 | 37.8576 | 4.2824 |  | 2.75 | 2.4893 | 0.2607
C2N2 | 32.2857 | 0.929 | 38.57 | 33.2147 | 5.3553 |  | 2.54 | 2.0573 | 0.4827
C2N3 | 27.9286 | 0.929 | 35 | 28.8576 | 6.1424 |  | 2.27 | 2.0042 | 0.2658
C2N4 | 33.1429 | 0.929 | 40.71 | 34.0719 | 6.6381 |  | 2.52 | 2.1314 | 0.3886
C2N5 | 26.8571 | 0.929 | 35 | 27.7861 | 7.2139 |  | 2 | 1.8757 | 0.1243
C2N6 | 29.9286 | 0.929 | 37.86 | 30.8576 | 7.0024 |  | 2.29 | 1.9252 | 0.3648
C2N7 | 27.0714 | 0.929 | 33.57 | 28.0004 | 5.5696 |  | 2.05 | 1.6994 | 0.3506
C2N8 | 20.5 | 0.929 | 27.86 | 21.429 | 6.431 |  | 1.6 | 1.2382 | 0.3618
C2N9 | 15.3571 | 0.929 | 22.86 | 16.2861 | 6.5739 |  | 1.25 | 0.9583 | 0.2917
C2N10 | 7.7143 | 0.929 | 13.57 | 8.6433 | 4.9267 |  | 0.66 | 0.3469 | 0.3131
C2N11 | 1.1214 | 0.929 | 8.57 | 2.0504 | 6.5196 |  | 0.26 | 0.11 | 0.15
C2N12 | 0.21429 | 0.929 | 7.86 | 1.1433 | 6.7167 |  | 0.22 | 0.11 | 0.11
C2N13 | 0.17857 | 0.929 | 9.29 | 1.1076 | 8.1824 |  | 0.22 | 0.11 | 0.11
C2N14 | 0.69286 | 0.929 | 8.57 | 1.6219 | 6.9481 |  | 0.19 | 0.11 | 0.08
C2N15 | 0.29286 | 0.929 | 10 | 1.2219 | 8.7781 |  | 0.19 | 0.11 | 0.08
C2N16 | 0.60714 | 0.929 | 8.57 | 1.5361 | 7.0339 |  | 0.2 | 0.11 | 0.09
C2N17 | 0.28571 | 0.929 | 9.29 | 1.2147 | 8.0753 |  | 0.17 | 0.11 | 0.06
C3N1 | 34.5 | 0.929 | 42.14 | 35.429 | 6.711 |  | 2.48 | 2.4456 | 0.0344
C3N2 | 30.3571 | 0.929 | 37.14 | 31.2861 | 5.8539 |  | 2.49 | 2.1977 | 0.2923
C3N3 | 34.6429 | 0.929 | 41.43 | 35.5719 | 5.8581 |  | 2.41 | 2.1032 | 0.3068
C3N4 | 29.1429 | 0.929 | 38.57 | 30.0719 | 8.4981 |  | 2.38 | 2.1032 | 0.2768
C3N5 | 21.3571 | 0.929 | 30 | 22.2861 | 7.7139 |  | 1.95 | 1.7715 | 0.1785
C3N6 | 25.0714 | 0.929 | 31.43 | 26.0004 | 5.4296 |  | 1.98 | 1.6482 | 0.3318
C3N7 | 22.5714 | 0.929 | 29.29 | 23.5004 | 5.7896 |  | 1.74 | 1.4854 | 0.2546
C3N8 | 14.1429 | 0.929 | 21.43 | 15.0719 | 6.3581 |  | 1.08 | 0.8861 | 0.1939
C3N9 | 4.6871 | 0.951 | 13.57 | 5.6381 | 7.9319 |  | 0.51 | 0.268 | 0.242
C3N10 | 0.89286 | 0.929 | 7.86 | 1.8219 | 6.0381 |  | 0.23 | 0.11 | 0.12
C3N11 | 0.27857 | 0.929 | 8.57 | 1.2076 | 7.3624 |  | 0.31 | 0.11 | 0.2
C3N12 | 1.0786 | 0.929 | 9.29 | 2.0076 | 7.2824 |  | 0.3 | 0.11 | 0.19
C3N13 | 0.35714 | 0.929 | 7.86 | 1.2861 | 6.5739 |  | 0.28 | 0.11 | 0.17
C3N14 | 0.25714 | 0.929 | 8.57 | 1.1861 | 7.3839 |  | 0.27 | 0.11 | 0.16
C3N15 | 0.4 | 0.929 | 7.86 | 1.329 | 6.531 |  | 0.24 | 0.11 | 0.13
C3N16 | 0.87857 | 0.929 | 8.57 | 1.8076 | 6.7624 |  | 0.28 | 0.11 | 0.17
C3N17 | 3.095 | 0.929 | 7.86 | 4.024 | 3.836 |  | 0.28 | 0.11 | 0.17