## Entry
| Sample # | Event # | Cast # | Niskin # | Volume Filtered | Lat (degrees) | Lat (minutes) | Long (degrees) | Long (minutes) | Lat | Long | Size fraction | Depth | Fluorometer | Raw Fb | Raw Fa | Blank | Blank Corr. Fb | Blank Corr. Fa | Scale (L,M,H) | Tau
| 420 | 20200217.1337 | 32 | 10 | 100 | -41.5 |  | 32.9889 |  | -41.5 | 32.9889 | 0.45 | 300 | 1 | 1.43 | 1.42 | 0 | 1.43 | 1.42 | L | 1.9438
| 421 | 20200217.1337 | 32 | 12 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 201 | 1 | 1.42 | 1.41 | 0 | 1.42 | 1.41 | L
| 422 | 20200217.1337 | 32 | 14 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 150 | 1 | 1.47 | 1.46 | 0 | 1.47 | 1.46 | L | Factor (tau/(tau-1))
| 423 | 20200217.1337 | 32 | 16 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 101 | 1 | 1.71 | 1.66 | 0 | 1.71 | 1.66 | L | 2.0595
| 424 | 20200217.1337 | 32 | 18 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 75 | 1 | 2.26 | 2.22 | 0 | 2.26 | 2.22 | L
| 425 | 20200217.1337 | 32 | 20 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 48 | 1 | 6.02 | 5.92 | 0 | 6.02 | 5.92 | L | Blank
| 426 | 20200217.1337 | 32 | 22 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 26 | 1 | 4.4 | 4.37 | 0 | 4.4 | 4.37 | L | L | 0
Top bottle | 427a | 20200217.1337 | 32 | 24 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 12 | 1 | 10.4 | 6.26 | -0.2 | 10.6 | 6.46 | M | M | -0.2
in triplicate | 427b | 20200217.1337 | 32 | 24 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 12 | 1 | 5.18 | 5.07 | -0.2 | 5.38 | 5.27 | M | H | -1.9
| 427c | 20200217.1337 | 32 | 24 | 100 | -41.5 | 0 | 32.9889 | 0 | -41.5 | 32.9889 | 0.45 | 12 | 1 | 5.59 | 5.47 | -0.2 | 5.79 | 5.67 | M
All Chlorophylls run on large tubes with bored out cuvette holder.
Results need to be verified post cruise.
Cast Info
SAMW'20; STN 32, Event 20200217.1337
Graph ID
Balch; Bigelow Laboratory; Provisional Chlorophyll Data
Note on B9: AMT Laptop: top bottle done in triplicate
Note on B10: AMT Laptop: top bottle done in triplicate
Note on B11: AMT Laptop: top bottle done in triplicate
Note on V2: DTD Updated Tau for SAMW20 Cruise
Note on V7: AMT Laptop: Must fill in blanks for all three levels for software to work

## Results
Sample # | Filter | event # | cast # | Lat | Lon | size fraction | depth | fluor | F vol (ml) | E vol (ml) | Fb Blank Corr. | Fa Blank Corr. | Dilution | Factor (r/r-1) | Chl (ug/l) | Fb/Fa | Corr Chl a | Corr Pheo | Chl a+Pheo | Average chl (ug l) | stdev | coefficient of deviation (%) | derived chl | meas - deriv
420 | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -300 | 1 | 100 | 10 | 1.43 | 1.42 | 1 | 2.0595 | 0.143 | 1.007 | 0.0020595 | 0.27396 | 0.27602 |  |  |  | 0.11374
421 | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -201 | 1 | 100 | 10 | 1.42 | 1.41 | 1 | 2.0595 | 0.142 | 1.0071 | 0.0020595 | 0.27202 | 0.27408 |  |  |  | 0.11634
422 | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -150 | 1 | 100 | 10 | 1.47 | 1.46 | 1 | 2.0595 | 0.147 | 1.0068 | 0.0020595 | 0.28174 | 0.28379 |  |  |  | 0.12084
423 | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -101 | 1 | 100 | 10 | 1.71 | 1.66 | 1 | 2.0595 | 0.171 | 1.0301 | 0.010298 | 0.31237 | 0.32267 |  |  |  | 0.13537
424 | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -75 | 1 | 100 | 10 | 2.26 | 2.22 | 1 | 2.0595 | 0.226 | 1.018 | 0.0082382 | 0.42329 | 0.43152 |  |  |  | 0.1819
425 | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -48 | 1 | 100 | 10 | 6.02 | 5.92 | 1 | 2.0595 | 0.602 | 1.0169 | 0.020595 | 1.1301 | 1.1507 |  |  |  | 0.71307
426 | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -26 | 1 | 100 | 10 | 4.4 | 4.37 | 1 | 2.0595 | 0.44 | 1.0069 | 0.0061786 | 0.84326 | 0.84944 |  |  |  | 0.46652
427a | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -12 | 1 | 100 | 10 | 10.6 | 6.46 | 1 | 2.0595 | 1.06 | 1.6409 | 0.85265 | 0.40304 | 1.2557
427b | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -12 | 1 | 100 | 10 | 5.38 | 5.27 | 1 | 2.0595 | 0.538 | 1.0209 | 0.022655 | 1.0017 | 1.0244 | 0.85265 |  |  | 0.85482 | -0.0021677
427c | HA | 20200217.1337 | 32 | -41.5 | 32.9889 | 0.45 | -12 | 1 | 100 | 10 | 5.79 | 5.67 | 1 | 2.0595 | 0.579 | 1.0212 | 0.024715 | 1.0774 | 1.1021
Tau | [15 empty] | Integrated | 7.2798 | 129.5676 | 136.8474
1.9438
Note on N1: Bruce Bowler: *Dilution = 1 means there is no dilution
Note on Y1: bruce: derived values are calculated using the equation 0.09687 * CTDfl - 0.08012 which is derived by regressing measured chl vs ctd fluoresence for all good chlorophylls

## Chl vs depth
Balch; Bigelow Laboratory; Provisional Chlorophyll Data
7.280
0.45um Int chl a
(mg m-2)
Int phaeo a
(mg m-2)
129.568
SAMW'20; STN 32, Event 20200217.1337