## Entry
| Sample # | Event # | Cast # | Niskin # | Volume Filtered | Lat (degrees) | Lat (minutes) | Long (degrees) | Long (minutes) | Lat | Long | Size fraction | Depth | Fluorometer | Raw Fb | Raw Fa | Blank | Blank Corr. Fb | Blank Corr. Fa | Scale (L,M,H) | Tau
| 482 | 20200219.0938 | 41 | 10 | 100 | -40.5021 |  | 33.0497 |  | -40.5021 | 33.0497 | 0.45 | 90.2 | 1 | 1.22 | 0.89 | 0 | 1.22 | 0.89 | L | 1.9438
| 483 | 20200219.0938 | 41 | 12 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 64.8 | 1 | 3.98 | 2.57 | 0 | 3.98 | 2.57 | L
| 484 | 20200219.0938 | 41 | 14 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 50.4 | 1 | 4.09 | 4.05 | 0 | 4.09 | 4.05 | L | Factor (tau/(tau-1))
| 485 | 20200219.0938 | 41 | 16 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 40.9 | 1 | 9.09 | 5.62 | 0 | 9.09 | 5.62 | M | 2.0595
| 486 | 20200219.0938 | 41 | 18 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 3.2 | 1 | 8.25 | 8.13 | 0 | 8.25 | 8.13 | M
| 487 | 20200219.0938 | 41 | 20 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 20.5 | 1 | 9.81 | 9.8 | 0 | 9.81 | 9.8 | M | Blank
| 488 | 20200219.0938 | 41 | 22 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 12.6 | 1 | 8.73 | 8.61 | 0 | 8.73 | 8.61 | M | L | 0
Top bottle | 489a | 20200219.0938 | 41 | 24 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 5 | 1 | 8.11 | 8.11 | 0 | 8.11 | 8.11 | M | M | 0
in triplicate | 489b | 20200219.0938 | 41 | 24 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 5 | 1 | 16.4 | 9.74 | 0 | 16.4 | 9.74 | M | H | -1.9
| 489c | 20200219.0938 | 41 | 24 | 100 | -40.5021 | 0 | 33.0497 | 0 | -40.5021 | 33.0497 | 0.45 | 5 | 1 | 8.53 | 8.51 | 0 | 8.53 | 8.51 | M
All Chlorophylls run on large tubes with bored out cuvette holder.
Results need to be verified post cruise.
Cast Info
SAMW'20; STN 41, Event 20200219.0938
Graph ID
Balch; Bigelow Laboratory; Provisional Chlorophyll Data
Note on B9: AMT Laptop: top bottle done in triplicate
Note on B10: AMT Laptop: top bottle done in triplicate
Note on B11: AMT Laptop: top bottle done in triplicate
Note on V2: DTD Updated Tau for SAMW20 Cruise
Note on V7: AMT Laptop: Must fill in blanks for all three levels for software to work

## Results
Sample # | Filter | event # | cast # | Lat | Lon | size fraction | depth | fluor | F vol (ml) | E vol (ml) | Fb Blank Corr. | Fa Blank Corr. | Dilution | Factor (r/r-1) | Chl (ug/l) | Fb/Fa | Corr Chl a | Corr Pheo | Chl a+Pheo | Average chl (ug l) | stdev | coefficient of deviation (%) | derived chl | meas - deriv
482 | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -90.2 | 1 | 100 | 10 | 1.22 | 0.89 | 1 | 2.0595 | 0.122 | 1.3708 | 0.067965 | 0.10503 | 0.173 |  |  |  | 0.14163 | -0.073665
483 | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -64.8 | 1 | 100 | 10 | 3.98 | 2.57 | 1 | 2.0595 | 0.398 | 1.5486 | 0.2904 | 0.20916 | 0.49956 |  |  |  | 0.27641 | 0.013986
484 | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -50.4 | 1 | 100 | 10 | 4.09 | 4.05 | 1 | 2.0595 | 0.409 | 1.0099 | 0.0082382 | 0.779 | 0.78724 |  |  |  | 0.5036
485 | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -40.9 | 1 | 100 | 10 | 9.09 | 5.62 | 1 | 2.0595 | 0.909 | 1.6174 | 0.71466 | 0.37775 | 1.0924 |  |  |  | 0.7858 | -0.071137
486 | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -3.2 | 1 | 100 | 10 | 8.25 | 8.13 | 1 | 2.0595 | 0.825 | 1.0148 | 0.024715 | 1.5556 | 1.5803 |  |  |  | 1.3335
487 | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -20.5 | 1 | 100 | 10 | 9.81 | 9.8 | 1 | 2.0595 | 0.981 | 1.001 | 0.0020595 | 1.9029 | 1.9049 |  |  |  | 1.5247
488 | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -12.6 | 1 | 100 | 10 | 8.73 | 8.61 | 1 | 2.0595 | 0.873 | 1.0139 | 0.024715 | 1.6489 | 1.6736 |  |  |  | 1.0535
489a | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -5 | 1 | 100 | 10 | 8.11 | 8.11 | 1 | 2.0595 | 0.811 | 1 | 0 | 1.5764 | 1.5764
489b | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -5 | 1 | 100 | 10 | 16.4 | 9.74 | 1 | 2.0595 | 1.64 | 1.6838 | 1.3717 | 0.5216 | 1.8933 | 0.45859 | 0.79074 | 172.4278 | 0.45022 | 0.0083724
489c | HA | 20200219.0938 | 41 | -40.5021 | 33.0497 | 0.45 | -5 | 1 | 100 | 10 | 8.53 | 8.51 | 1 | 2.0595 | 0.853 | 1.0024 | 0.0041191 | 1.6501 | 1.6542
Tau | [15 empty] | Integrated | 28.0761 | 54.4172 | 82.4933
1.9438
Note on N1: Bruce Bowler: *Dilution = 1 means there is no dilution
Note on Y1: bruce: derived values are calculated using the equation 0.09687 * CTDfl - 0.08012 which is derived by regressing measured chl vs ctd fluoresence for all good chlorophylls

## Chl vs depth
Balch; Bigelow Laboratory; Provisional Chlorophyll Data
28.076
0.45um Int chl a
(mg m-2)
Int phaeo a
(mg m-2)
54.417
SAMW'20; STN 41, Event 20200219.0938