SOP 1

Water sampling for the parameters of the oceanic carbon dioxide system

- Scope and field of application

This chapter describes how to collect discrete samples, from a Niskin or other water sampler, that are suitable for the analysis of the four measurable inorganic carbon parameters: total dissolved inorganic carbon, total alkalinity, pH and CO2 fugacity.

- Principle

A sample of sea water is collected in a clean glass container in a manner designed to minimize gas exchange with the atmosphere (note: CO2 exchange affects the various carbon parameters to differing degrees ranging from the very sensitive CO2 fugacity, f(CO2), to alkalinity which is not affected by gas exchange). The sample may be treated with a mercuric chloride solution to prevent biological activity, and then the container is closed to prevent exchange of carbon dioxide or water vapor with the atmosphere.

- Apparatus

The sample containers are somewhat different depending on which parameter is being collected, but the basic concept is similar for the four possible inorganic carbon samples. In general one needs a flexible plastic drawing tube, a clean glass sample container with stoppers, a container and dispenser for the mercuric chloride solution (if it is being used) and a sampling log to record when and where each of the samples were collected.

- Drawing Tube

Tygon® tubing is normally used to transfer the sample from the Niskin to the sample container; however, if dissolved organic carbon samples are being collected from the same Niskins then it may be necessary to use silicone tubing to prevent contamination from the Tygon. The drawing tube can be pre-treated by soaking in clean sea water for at least one day. This minimizes the amount of bubble formation in the tube when drawing a sample.

- Sample Container

The sample container depends on the parameter being measured. Typically the f(CO2) samples are analyzed directly from the sample container so they are collected in 500 cm3 volumetric flasks that have been pre-calibrated for a documented volume and sealed with screw caps that have internal plastic conical liners. Samples for pH are also typically analyzed directly from the sample containers. For spectrophotometric pH measurements the samples are collected directly into 10 cm path length optical cells and sealed with PTFE caps ensuring that there is no head-space. For CT and AT, high quality borosilicate glass bottles, such as Schott Duran (l.c.e. 32  10–7), are recommended for both temporary and longer term storage. The bottles should be sealed using greased ground glass stoppers held in place with some form of positive closure, or in some alternate gas-tight fashion.

- Mercury Dispenser

The f(CO2) and CT samples should be poisoned with a mercuric chloride solution at the time of sampling. The AT samples have historically been poisoned as well, but tests have suggested that poisoning may not be required if open ocean samples are kept in the dark at room temperature and are analyzed within 12 hours. Samples for pH are typically not poisoned because the sample size is relatively small and the samples are usually analyzed very quickly after sampling. Although any appropriately sized Eppendorf pipette can be used to add the mercuric chloride solution, it may be more convenient to use a repipetter that can be mounted near the sample collection area. All equipment should be properly labeled for safety.

- Reagents

- Mercuric Chloride Solution

Samples collected for f(CO2), CT, and in some cases AT should be poisoned with a mercuric chloride solution to stop biological activity from altering the carbon distributions in the sample container before analysis. A typical solution is saturated mercuric chloride in deionized water. However, saturated solutions have been known to clog the pipette in very cold weather so some investigators use twice the volume of a 50% saturated solution. Standard volumes used for saturated solutions are 0.05-0.02% of the total sample volume.

- Stopper Grease

CT and AT samples are typically collected in borosilicate glass bottles with ground glass stoppers. To form an air tight seal, the stoppers should be greased. Apiezon® L grease has been found to be suitable for this purpose; other greases may also work. Care should be taken not to transfer the grease onto the Niskin bottle as this could interfere with other analyses.

- Procedures

- Introduction

Collection of water at sea from the Niskin bottle (or other sampler) must be done soon after opening the sampler and before much other water has been removed from it. This is necessary to minimize exchange of CO2 with the air space in the sampler which affects all carbon parameters except AT. Other gas samples (e.g. He, CFCs, O2) have faster exchange rates than CO2 and are usually sampled before carbon, but it is desirable that the carbon samples be collected before the Niskin bottle is half empty and within ten minutes of it being first opened. A typical sampling order for carbon is f(CO2), pH, CT, then AT.

- Filling procedure

Rinse the sample bottle—If the bottle is not already clean, rinse it twice with 30 to 50 cm3 of sample so as to remove any traces of a previous sample.

Fill the sample bottle—Fill the bottle smoothly from the bottom using a drawing tube which extends from the Niskin drain to the bottom of the glass sample bottle. For f(CO2), pH and CT it is critical to remove any bubbles from the draw tube before filling. Overflow the water by at least a half, and preferably by a full, bottle volume.

Adjust the head-space—A head-space of 1% of the bottle volume is left to allow for water expansion (see Annexe to this procedure), i.e. 2.5 cm3 for a 250 cm3 bottle. This can be achieved by pinching off the draw tube before removing it from the sample bottle or removing excess water using a plastic pipette with a bulb. pH samples should not have a head-space.

Add mercuric chloride—Mercuric chloride is added to poison the sample; the recommended minimum amount is about 0.02% by volume of a saturated aqueous solution. Thus to poison a 250 cm3 sample requires 0.05 cm3 (50 µL) of saturated mercuric chloride (or 0.10 cm3 of a 50% saturated solution).

Close the bottle—Seal the bottle carefully to ensure that it remains gas-tight. If it is to be sealed using a greased ground glass stopper, first wipe the excess water from the ground glass in the bottle neck, then insert the stopper completely, and finally twist the stopper to squeeze the air out of the grease to make a good seal. Finally, secure the lid—Use a rubber band or other positive closure, then invert the bottle several times to disperse the mercuric chloride solution thoroughly.

- Sample storage

The samples should be stored in a cool, dark, location (preferably refrigerated but not frozen) until use.

- Sample documentation

The following information must be recorded in the sampling log book at the time of sampling.

- Time and date when taken

- Full name of person who took sample

- Location: an unambiguous designation of the station, cast, and bottle number from which the sample was taken

- Container designation: a number or alphanumeric symbol unique to the sample container

- Comments: additional information such as conditions when sampling, problems with sample collection, etc.

- Quality assurance

Some duplicate sampling is recommended, both from the same sampler (e.g. Niskin bottle) and, if possible, from two samplers tripped together at the same depth, to assess the quality of the sampling procedures.

Annexe

How large a head-space should be left in a sample bottle?

The volume of the head-space is chosen so as to leave room for expansion of the sea water on warming, while being sufficiently small to minimize the amount of gas exchange between the head space and the bulk of the sample. The closure system must be adequate to retain the pressure exerted by the expansion.

The apparent change in the volume of a fixed mass of sea water can be calculated by allowing for the change in the density of the sea water and the expansion of the glass container. The total change over the temperature range 0–40 °C is about 1%. (The effect of expansion on the volume of the borosilicate glass bottle is only 0.04% over this range.) One third of this expansion occurs on heating the sea water from 0 to 20 °C, the remaining two thirds on heating it from 20 to 40 °C.

The pressure in the head-space of a container heated from a temperature t1 to t2 can be estimated allowing for the following:

- the expansion of the sea water in the bottle,

- the change in solubility of gases such as N2, O2, Ar,

- the thermal expansion of the gas phase,

- the change in the vapor pressure of H2O in the gas phase

Defining the initial head-space ratio

,

allows the calculation of the approximate pressure in the head-space of a closed container as a function of temperature. Clearly, if cold samples (< 10 °C) are likely to be heated above 30 °C, there is a risk of them leaking if the head-space ratio is significantly less than 1%. There is, however, an additional factor to be taken into account when determining the optimal head-space size: gas exchange with the head-space. The change in total dissolved inorganic carbon (∆CT) resulting from this gas exchange can be derived from mass balance considerations:

;

where p(CO2) is the partial pressure of CO2 in a head-space of volume V and at a temperature T corresponding to the initial condition (when the bottle is closed) and the final condition (when the bottle is analyzed), R is the gas constant and m(sample) is the mass of the sample.

The volume of the head-space decreases as the contents heat up (due to the expansion of the sea water) partially compensating for the decrease in the solubility of the various gases, thus the greatest loss of CO2 will occur if the sea water has a high p(CO2) but does not warm up significantly in the container. Even then, provided that the head-space ratio is less than 0.01, ∆CT will be less than 0.5 µmol·kg–1.

Gain or loss of CO2 gas is not significant when collecting discrete samples for alkalinity measurement; however, if p(CO2) is to be measured the so-called “buffer factor” comes into play and the resultant relative error in p(CO2) is approximately 10 times that in CT, i.e. for an change of –0.5 µmol·kg–1 in CT the change in p(CO2) is about –0.25%. This corresponds to a change in pH of about +0.001.

A head-space of 1% is thus optimal for the collection of CO2 samples provided that they will not be exposed to temperature changes of 30 °C or more. If this cannot be assured, it would be preferable to allow a larger head-space and to estimate the appropriate correction.

The amount of overflow water can be estimated by measuring how long it takes to fill a sample bottle, and allowing the water to flow for a period of 1.5 times that.

The recommended procedure for re-greasing (or greasing) a stopper is as follows: (a) wipe the stopper with a tissue to remove as much grease as possible, (b) grease the stopper with 4 strips of grease, each strip extending 2/3 of the way from the top towards the bottom of the ground portion of the stopper. This provides a path for air to escape when the stopper is inserted into the neck of the bottle.