## Sheet1
TRANSMISSOMETER CALIBRATION SHEET
MEASURED =
A0 (Vair) | 4.728 | V | in cal doc =
Y0 (Vd) | 0.057
W0 (Vref) | 4.726
Tw | 100
A1 ( | 4.703 | Vair_measured
Y1 | 0.054 | Vd_measured
B | -1.162
M | 21.5192
PAR CALIBRATION SHEET
Cw (Wet cal factor) | 8.84e-06 | einsteins
Measured Dark | 0.00122 | V
cal constant | 11312217194.5701
offset | -0.088649
enter 1 for M and 0 for B