CTD Deck Procedures

EN476

Before first cast, tech will:

Review deployment, lowering, raising/bottle trips and recovery

Setup cleats, taglines, hooks, recovery poles, etc. for recovery & deployments

Review safety issues, signals, taglines, cleats, knots, etc.:

For each cast have 3 people available to work on deck, plus one winch operator & one CTD operator.

## SAFETY FIRST!

Awareness:

Stay clear of wires overhead. Keep body parts and other objects away from rests of hydraulic equipment. Keep feet out from under objects being lifted. Stay clear of taglines and wire with high tensions.

Signals:

Make signals deliberate so they can be seen from a distance and in the line of sight of the equipment operator.

Stop is a strong raised fist. Wave arm a bit to get attention.

Up = up index finger & arm

Up slow = up index finger & thumb pinching together, up arm

Up fast = up index finger rotating in a circular motion, up arm

Down = down index finger

Down slow = down index finger & thumb pinching together

Down = down index finger rotating in a circular motion

In sight = point at own eyes

Zero = one or both hands form a circle pointed at the operator

Taglines:

Use the shortest distance from the fixed objects to package. Rig so the most control is at points where the package is most likely to swing and cause damage to personnel or equipment. Take into account that package will move in horizontal and vertical axes.

On a tensioned line, keep hands more than 2’ from cleat or fairlead.

Object should be vertical under gear that is lifting it. Slack smoothly with control if it is at an angle, being held too tightly by the tagline. Letting go of the tagline rapidly causes the package to swing = BAD.

Request instruction on knots if unsure of how to tie them properly. Deployment lines will be tied to the ship but deck personnel should have knowledge of knots, lines and cleats.

Deployment lines: Tie a bowline with one end of the line to fixed object such as a deck eye. Lead it up through mid-lower part of frame to fixed cleat so it can act as a Slip Line. To deploy the package the line should only go around the cleat less than 90 degrees! Take into account where the package will be going and coming during deployment & recovery. Go under the cleat at the point farthest away from the package.

Only to keep package secure on deck, use a figure 8 on the cleat. Lead the line up, over and across the cleat to form a figure 8. Remove the figure 8 when the winch is running to prepare for deployment. The figure 8 must be removed from the cleat when the winch is running.

Recovery lines: One end is tied with a bowline to a hook. The other end is free. The excess line is on the other side of the cleat, neat on deck . The line should not be tied to the ship. The hook clips into a pole which is used to reach the package as it comes up out of the water.

Communications with winch operator:

Lower package slowly, going into water and down to 5. The surface is a critical point where numerous wire partings and CTD losses have occurred due to high dynamic tension. The package gets lifted by crests and let down by troughs. If the wire is going out too fast during a crest, the package can gain more downward momentum with that greater amount of wire out during the trough and, in the worst case, snap & part the wire.

To prevent confusion and accidents: CTD operator communicates a depth to the winch operator by saying it twice, each time a different way e.g. “one fifteen, one one five”. Otherwise it may sound like 150 instead of 115. Winch operator will repeat the understood depth back to the CTD operator. Winch op will call CTD op when depth is achieved, CTD op will acknowledge.

Safety issues:

Stay clear of wires overhead. Keep body parts and other objects away from rests of hydraulic equipment. Keep feet out from under objects being lifted. Stay clear of taglines and wire with high tensions.

Signals:

Make signals deliberate so they can be seen from a distance and in the line of sight of the equipment operator.

Stop is a strong raised fist. Wave arm a bit to get attention.

Up = up index finger & arm

Up slow = up index finger & thumb pinching together, up arm

Up fast = up index finger rotating in a circular motion, up arm

Down = down index finger

Down slow = down index finger & thumb pinching together

Down = down index finger rotating in a circular motion

In sight = point at own eyes

Zero = one or both hands form a circle pointed at the operator

Taglines:

Tie a bowline with one end of the line to fixed object such as a deck eye. Lead it up through mid-lower part of frame to fixed cleat. Figure 8 on cleat in best direction for the current configuration. Take into account where the package will be going and coming during deployment & recovery. Go under the cleat at the point farthest away from the package. Lead the line up, over and across the cleat to form a figure 8. Use shortest distance from the fixed objects to package. Rig so most control is at points where the package is most likely to swing and cause damage to personnel or equipment. Take into account that package will move in horizontal and vertical axes.

Keep hands on tensioned line more than 2’ from cleat during deployments and recoveries.

Object should be vertical under gear that is lifting it. Slack smoothly with control if it is at an angle, being held too tightly by the tagline. Letting go of the tagline rapidly causes the package to swing = BAD.

Request instruction on knots if unsure of how to tie properly.

Ask someone if unsure, especially regarding deck safety issues

Keep in mind also that you are handling a package that costs $70,000 at the minimum.

mwo = meters wire out

At 10 minute to station notification from bridge let them know the cast # so it can be recorded accurately in the ship’s log

Ready the CTD package:

Wear your hardhat, work vest & possibly boots! This can be a wet job.

### Secure all levers down on carousel pylon

12 pl frame Cock Niskins: top cap then bottom. Check that the lanyard has a free path and will not be hung up when bottle trips. Be careful not to snap the bottom & top cap against bottle rim. This will prevent chips and fractures of the bottle PVC. Each bottle costs ~$1000.

Tighten all air valves, pull out all petcocks, and turn the petcock disk so hole is not lined up with pin.

Remove PAR cap! Also remove auxiliary sensors not rated to max depth of cast. PAR=1000m.

Winch operator will contact bridge for permission to deploy when he knows the deck crew is ready. Double check that permission is granted from Bridge.

unfasten J-frame (deck boss)

setup taglines

remove securing plates/bolts

!!!Keep tension on the wire while winch is in operation!!!

Up, out & down signals as applicable from deck boss to winch operator.

!!!Be sure the wire does not catch on anything and that the lifting shackle is straight and not side-loaded!!!

# Deploy CTD to 5 meters:

Deploy using taglines, hooks & cleats depending on package and weather.

!!!Keep tension on the wire while winch is in operation!!! This prevents snaps and loose wraps on the winch drum. Be sure the wire does not catch on anything and that the lifting shackle is straight and not side loaded!!!

slip tagline free from package once package is overboard & stable. Do this quickly and controlled to prevent a knot forming in end of line or whipping someone. A tie wrap or few stuffed into the center or taped to the line at the working end will prevent knots.

Have the winch operator Zero (reset) the winch readout when the CTD is just below the surface (entire package covered with water). The package does not have to stop at the surface each deployment as long as the winch operator checks the Zero as the package is at the surface, going down. It should be reset on the first cast and any time the wire may have become slack with either the counter or wire moving. Slack causes an offset of the counter.

Signal winch operator to put CTD package down to 5m. This forces bubbles out of the flow paths, etc.

The winch operator will notify the bridge & lab that the CTD is in the water at 5meters

CTD operator will start the CTD from the MainLab but deck boss stays to give signals for surface location.

!!!One scientist is responsible for communicating with the winch operator as the package gets close to the surface and must stand out on deck to give signals. The deck boss goes outside when the package is at the bottle stop that is before the surface stop.

When everyone is ready the CTD computer operator can communicate “Doghouse, Lab. Up to the surface”

Deck person signals: in sight, point at eyes; then up index finger & thumb to continue up slow. Stop is a strong raised fist. Make signals deliberate and in the line of sight of the winch operator. Stop the package before it comes out of the water during a trough of the swell. In rough weather: bring it no higher than 2-5 mwo. In calm weather it can be just below the surface.

# Recover CTD:

Before or at surface, Winch operator contacts bridge for permission to recover.

Lab will communicate when the CTD power is OFF (do not start recovery before this)

Recover package using recovery poles, taglines, hooks & cleats as necessary

!!!Keep tension on the wire!!! Leave enough slack for J-frame to go all the way out without adjusting CTD cable length.

### Secure package to deck (tagline people)

### Secure J-frame (deck boss)

PAR sensor cap returned to sensor if PAR on package

# Do not start sampling and Keep area clear of other sampling people until the above is completed

Notify bridge CTD is secure & ready to get underway to next station

At a long transit, also contact the bridge when sampling and outside work on the CTD (adjusting lanyards, etc.) is complete.

### Please notify Lynne of any changes, problems, suggestions, etc…

Happy CTDing 