TSal -		SBE21, in Wet Lab. Remote temp (T2) is at the seachest, under

the engine room where the underway seawater comes into the

ship at 5meters depth. This seawater runs from the seachest through PVC piping to the Special Purpose Lab, Wet Lab and the 01 deck. In the

Wet Lab the seawater runs through a debubbler then splits off

one way to the TSal and the other way to the Turner 10-AU

Fluorometer then TSG before going to drain overboard.

Software to load Sea-Bird Seasave and Processing programs onto

a computer are included. This software can also be acquired at

www.seabird.com

for C:\Program Files\Sea-Bird\SBEDataProcessing-Win32 see EN476\CTD\SoftwareSBE

C:\Program Files\Sea-Bird\SeasaveV7

TSalData – TSal raw data (*.hex) & data processed (*.cnv) by Lynne Butler