Assay Definition-

Assay Description:
Basic dual DPM assay

Assay Type: DPM (Dual)
Report Name: Report1
Output Data Path: C:\Packard\Tricarb\Results\Default\3h_14c_dpm\20090105_0746
Raw Results Path: C:\Packard\Tricarb\Results\Default\3h_14c_dpm\20090105_0746\20090105_0746.results
Comma-Delimited File Name: C:\Packard\Tricarb\Results\Default\3h_14c_dpm\20090105_0746\Report1.csv
Assay File Name: C:\Packard\TriCarb\Assays\3h_14c_dpm.lsa

Additional Data Files Generated with this Protocol:
Report1
		[Excel]	Report1.csv

Count Conditions-

Nuclide: 3H-14C               
   Quench Indicator: tSIE/AEC
   External Std Terminator (sec): 0.5 2s%
   Pre-Count Delay (min): 0.08
Quench Sets:                  
   Low Energy: 3H
   Mid Energy: 14C
Count Time (min): 1.00
Count Mode: Normal                                          
Assay Count Cycles: 1         Repeat Sample Count: 1        
#Vials/Sample: 1              Calculate % Reference: Off    

Background Subtract: On - 1st Vial
Low CPM Threshold: Off
2 Sigma % Terminator: Off

Regions         LL       UL  Bkg Subtract
A              0.0     12.0      1st Vial
B             12.0    156.0      1st Vial
C              0.0      0.0      1st Vial

Count Corrections-

Static Controller: On         Luminescence Correction: n/a  
Colored Samples: Off          Heterogeneity Monitor: n/a    
Coincidence Time (nsec): 18   Delay Before Burst (nsec): 75 

Half Life-

Half Life Correction: Off
Regions    Half Life          Units      Reference Date      Reference Time
A                                                                          
B                                                                          
C                                                                          

Cycle 1 Results
  S#       DATE         TIME  Count Time    CPMA    CPMB    DPM1    DPM2      SIS     tSIE  MESSAGES
   1  1/5/2009   7:46:56 AM       10.00       6      11       0       0    54.07   488.09         B
   2  1/5/2009   7:57:51 AM        1.00      19      23      42      25    33.05   381.71          
   3  1/5/2009   7:59:31 AM        1.00      31       3      72       0     8.77   435.18          
   4  1/5/2009   8:01:15 AM        1.00      27      11      61      10    28.90   418.96          
   5  1/5/2009   8:02:56 AM        1.00      26      11      61      10    17.15   390.00          
   6  1/5/2009   8:04:38 AM        1.00      35      15     106      12    14.75   291.81          
   7  1/5/2009   8:06:20 AM        1.00      38       7      97       3     7.25   371.42          
   8  1/5/2009   8:08:03 AM        1.00      42       4     105       0     4.56   389.63          
   9  1/5/2009   8:09:45 AM        1.00      34      14      82      12    16.98   381.54          
  10  1/5/2009   8:11:27 AM        1.00      43      13     122       8     8.51   325.55          
  11  1/5/2009   8:13:09 AM        1.00      46      13     116       9    10.48   368.26          
  12  1/5/2009   8:14:52 AM        1.00      32       8      89       4     1.68   335.86          
Missing vial 13.
Missing vial 14.
Missing vial 15.
Missing vial 16.
Missing vial 17.
Missing vial 18.
  19  1/5/2009   8:16:44 AM        1.00      43      17     105      14    15.33   381.61          
  20  1/5/2009   8:18:26 AM        1.00      49       2     121       0     4.26   400.08          
  21  1/5/2009   8:20:09 AM        1.00      37       9      89       6    20.02   399.83          
  22  1/5/2009   8:21:51 AM        1.00      33      18      75      18    37.05   401.83          
  23  1/5/2009   8:23:34 AM        1.00      41      14     102      11    21.99   379.08          
  24  1/5/2009   8:25:16 AM        1.00      64       8     157       1    13.75   393.17          
  25  1/5/2009   8:26:58 AM        1.00      49       9     120       4     8.16   392.57          
  26  1/5/2009   8:28:41 AM        1.00      52      14     125      10    19.66   393.59          
  27  1/5/2009   8:30:22 AM        1.00      46       8     121       3    10.40   357.34          
  28  1/5/2009   8:32:05 AM        1.00      37       3      89       0    15.24   413.64          
  29  1/5/2009   8:33:49 AM        1.00      48       6     141       0     5.52   319.07          
  30  1/5/2009   8:35:32 AM        1.00      47      11     120       7    11.64   367.44          
  31  1/5/2009   8:37:14 AM        1.00      48      13     118       9    15.72   381.85