Recommended configuration settings for Chelsea Scientific Instruments Fast Repetition Rate Fluorometers (Mk I Fastracka™ only).

Please note: These can only be taken as a guide. Optimal data would likely require different settings which may depend on region/season and the specific question under consideration.

Underway In Line

No.	Setting

- 65535

- 16

- 100

- 4

A	0

B	Enabled

C	20

D	4

E	120

F	30000 		(this equates to one ‘measurement’ every 30 secs)

G	Auto

H	Disabled

I	Enabled	(this is not necessary, but useful to see if data is being collected)

J	Inactive

K	Active

L	Enabled

M	80

N	20

Discrete

No.	Setting

- NA		(set as required)

- 16

- 100

- 4

A	0

B	Enabled

C	20

D	4

E	120

F	30

G	NA		(set gains 1-16 in ‘non-autoranging’ mode as required)

H	Disabled

I	Enabled

J	Inactive

K	Active

L	Enabled

M	90		(note these are not relevant in non-auto mode)

N	15

CTD/Other vertical profiling

No.	Setting

- 65535

- 16

- 100

- 4

A	0

B	Disabled 	(note the user may wish to turn this on, however is unlikely to produce accurate data in this mode of deployment)

C	20

D	4

E	120

F	30

G	1, 4, 16	(Notes: many users will likely prefer autoranging, gain 16 will only required in very low biomass waters and possibly may saturate in any deep chlorophyll maximum even then)

H	Disabled

I	Disabled

J	Active

K	Active

L	Enabled

M	80

N	20