Assay Definition-

Assay Description:
Basic dual DPM assay

Assay Type: DPM (Dual)
Report Name: Report1
Output Data Path: C:\Packard\Tricarb\Results\
Raw Results Path: C:\Packard\Tricarb\Results\Default\RPSC\20120130_2254\20120130_2254.results
RTF File Name: C:\Packard\Tricarb\Results\\Report1.rtf
Comma-Delimited File Name: C:\Packard\Tricarb\Results\\Report1.csv
Assay File Name: C:\Packard\TriCarb\Assays\RPSC.lsa

Additional Data Files Generated with this Protocol:
Report1
		[Excel]	Report1.csv
		[RTF]		Report1.rtf

Count Conditions-

Nuclide: 3H-14C               
   Quench Indicator: tSIE/AEC
   External Std Terminator (sec): 0.5 2s%
   Pre-Count Delay (min): 0.08
Quench Sets:                  
   Low Energy: 3H
   Mid Energy: 14C
Count Time (min): 1.00
Count Mode: Normal                                          
Assay Count Cycles: 1         Repeat Sample Count: 1        
#Vials/Sample: 1              Calculate % Reference: Off    

Background Subtract: Off
Low CPM Threshold: Off
2 Sigma % Terminator: Off

Regions         LL       UL
A              0.0     12.0
B             12.0    156.0
C              0.0      0.0

Count Corrections-

Static Controller: On         Luminescence Correction: n/a  
Colored Samples: Off          Heterogeneity Monitor: n/a    
Coincidence Time (nsec): 18   Delay Before Burst (nsec): 75 

Half Life-

Half Life Correction: Off
Regions    Half Life          Units      Reference Date      Reference Time
A                                                                          
B                                                                          
C                                                                          

Cycle 1 Results
  S#       DATE         TIME    CPMA    CPMB    DPM1    DPM2      SIS     tSIE  MESSAGES  Count Time
   1  1/30/2012  10:55:27 PM      27      10      61       9    19.50   415.76                  1.00
   2  1/30/2012  10:57:10 PM      17      14      36      15    29.85   422.77                  1.00
   3  1/30/2012  10:58:56 PM      54      86      97      98    39.27   447.81                  1.00
   4  1/30/2012  11:00:41 PM      41      14      90      12    18.46   454.28                  1.00
   5  1/30/2012  11:02:27 PM      31       7      70       4    24.16   449.22                  1.00
   6  1/30/2012  11:04:12 PM     160      13     372       0     9.54   440.61                  1.00
   7  1/30/2012  11:05:59 PM      31      24      69      25    34.36   405.70                  1.00
   8  1/30/2012  11:07:44 PM      47      18     107      15    21.04   424.76                  1.00
   9  1/30/2012  11:09:30 PM      26      24      56      26    34.02   401.36                  1.00
  10  1/30/2012  11:11:16 PM      47      21     106      19    25.30   426.63                  1.00
  11  1/30/2012  11:13:03 PM      26      50      47      57    44.92   418.70                  1.00
  12  1/30/2012  11:14:49 PM      54      74     108      84    38.24   399.20                  1.00
  13  1/30/2012  11:16:35 PM      39      32      86      34    30.21   404.47                  1.00
  14  1/30/2012  11:18:23 PM      27      30      57      33    27.27   404.67                  1.00
  15  1/30/2012  11:20:07 PM      23       9      53       8    17.91   412.45                  1.00
  16  1/30/2012  11:21:55 PM      51      44     113      47    23.87   394.28                  1.00
  17  1/30/2012  11:23:43 PM     155      29     380      13    15.20   395.48                  1.00
  18  1/30/2012  11:25:30 PM      38      18      88      17    32.34   405.74                  1.00