Assay Definition-

Assay Description:
Foolish swipes

Assay Type: DPM (Dual)
Report Name: Report1
Output Data Path: C:\Packard\Tricarb\Results\
Raw Results Path: C:\Packard\Tricarb\Results\foolish swipes\3h_14c_dpm\20120206_0053\20120206_0053.results
RTF File Name: C:\Packard\Tricarb\Results\Report1.rtf
Comma-Delimited File Name: C:\Packard\Tricarb\Results\Report1.csv
Assay File Name: C:\Packard\TriCarb\Assays\3h_14c_dpm.lsa

Additional Data Files Generated with this Protocol:
Report1
		[Excel]	Report1.csv
		[RTF]		Report1.rtf

Count Conditions-

Nuclide: 3H-14C               
   Quench Indicator: tSIE/AEC
   External Std Terminator (sec): 0.5 2s%
   Pre-Count Delay (min): 0.08
Quench Sets:                  
   Low Energy: 3H
   Mid Energy: 14C
Count Time (min): 1.00
Count Mode: Normal                                          
Assay Count Cycles: 1         Repeat Sample Count: 1        
#Vials/Sample: 1              Calculate % Reference: Off    

Background Subtract: Off
Low CPM Threshold: Off
2 Sigma % Terminator: Off

Regions         LL       UL
A              0.0     12.0
B             12.0    156.0
C              0.0      0.0

Count Corrections-

Static Controller: On         Luminescence Correction: n/a  
Colored Samples: Off          Heterogeneity Monitor: n/a    
Coincidence Time (nsec): 18   Delay Before Burst (nsec): 75 

Half Life-

Half Life Correction: Off
Regions    Half Life          Units      Reference Date      Reference Time
A                                                                          
B                                                                          
C                                                                          

Cycle 1 Results
  S#  Count Time    CPMA    CPMB    DPM1    DPM2      SIS     tSIE  MESSAGES
   1        1.00      82      24     196      18    15.67   399.29          
   2        1.00      71      29     186      25    18.72   345.19          
   3        1.00      69      38     177      37    15.37   343.67          
   4        1.00      62      29     176      26    19.04   308.14          
   5        1.00      63      20     169      15    18.77   340.06          
   6        1.00      66      35     177      33    20.78   329.33          
   7        1.00      66      26     176      22    16.80   337.84          
   8        1.00      73      27     188      22    16.45   354.46          
   9        1.00      58      35     155      33    17.79   329.25          
  10        1.00      63      23     173      18    13.33   331.94          
  11        1.00      95      28     255      20    13.53   343.24          
  12        1.00      61      36     154      35    23.16   347.98          
  13        1.00      71      49     175      50    24.78   354.19          
  14        1.00      57      25     149      22    20.78   346.19          
  15        1.00      66      40     175      39    21.43   329.10          
Missing vial 16.
  17        1.00      63      25     162      21    17.82   356.62          
  18        1.00      59      42     149      42    24.67   348.27          
  19        1.00      56      73     136      83    33.16   315.93          
  20        1.00      81     177     169     208    47.71   316.20          
  21        1.00      63      37     163      36    24.51   340.14          
  22        1.00      55      25     150      21    18.68   331.50          
  23        1.00      52      28     141      27    17.59   322.00          
  24        1.00      60      26     159      23    21.28   341.88          
  25        1.00      73      27     196      21    18.67   340.18          
  26        1.00      54      44     145      46    29.81   313.39