***It is suggested that the scientists do their own processing of the raw data for their specific purposes.***

# The data have been preliminarily processed by the ship’s technician during the cruise for the convenience of an initial sensor check. These files should not be taken as the final processed product for analysis.

The Sea-Bird SBE21 ThermoSalinograph (TSal) was running & logging from

17 – 25 and 25 - 31 May 2007

Data file names are 17May07a.* and 25May07a.*

Processed *.cnv data files are in TSal\data\list

Raw *.hex data files are in TSal\data\

Calibration coefficient *.con files are in TSal\data\

Mark *.mrk files are in TSal\data\

Acquisition program files are in TSal\CprogramFilesSea-BirdSeasaveV7

## which indicates the original path on the TSal computer. V7 was used for

## acquisition of TSal data.

SBEDataProcessing-Win32 program files are in TSal\TSalPro\

The data was processed using only the SBEDataProcessing-Win32 DatCnv module to convert from *.hex hexadecimal raw data in TSal\data\ to processed *.cnv ASCII data in TSal\data\list\

Instructions for processing are in the Sea-Bird files EN435\CTD\  manualSBE4249.txt & SBEDataProcessing_5.37.pdf

See TSalConReport435.txt and other files in EN435\TSal\ for documentation of sensor serial numbers, programs and equipment used.