DO test 435xzpooFs4_ootest.*

~20000
Pull pri 0348 tube w/DI first (secondary seems to also be affected)

Reinstall tube

Blow thru tube

Wait for equilibration

~30000
Pull sec 0345 tube w/DI (primary seems to not also be affected)

Reinstall tube

Blow thru tube

Wait for equilibration

Fill each tube w/ DI, pri 0348 first, then sec 0345.

Wait for equilibration

Stop acquisition

----------------------------------------------------------------------------------------

Secondary calculation (although not V5) seems to be affected by change in primary and secondary voltages.

----------------------------------------------------------------------------------------

Swap Y cable ends for DO1 & DO2

DO test 435xzpooFs5_ootest.*

~14000
Pull pri 0345 (sec for TC&Pump) tube w/DI first (secondary seems to also be affected)

Reinstall tube

Blow thru tube

Wait for equilibration

~15000
Pull sec 0348  (pri for TC&Pump) tube w/DI (primary seems to not also be affected)

Reinstall tube

Blow thru tube

Wait for equilibration

Fill each tube w/ DI, pri 0345 (sec for TC&Pump)  first, then sec 0348 (pri for TC&Pump).

Stop acquisition

----------------------------------------------------------------------------------------

