## EN437 D Log
05July 2007 time (UTC) | temp from thermo-meter | stby value | salt bottle number | cond 1st | cond 2nd | cond 3rd | cond 4th | cond 5th | cond 6th | cond 7th | sal 1st | sal 2nd | sal 3rd | sal 4th | sal 5th | sal 6th | sal 7th
|  | 1.297387 | Tsal | cond 1st: 0.944948
flush 5x
0033 |  | 1.297393 | new std #1 | Restandardize the PortaSal |  |  | 1.00046 | 1.00068 | 1.00074 | 0.999971 | Restandardize the PortaSal
|  |  | standardize | STD=4.21961 | STD=4.2199* | STD=4.21880 | STD=4.21937 | STD=4.21960 to COND=0.999864 | 0.999823 | 0.999823
0051 | 24 | 1.296777 | D1 | 0.963885 | 0.963890 | 0.963900 | 0.963906 | 0.964007 | 0.964039 |  | 33.5841 | 33.5841 |  | 33.5847 | 33.5883 | 33.5896
| 24 | 1.296777 | D2 | 0.963862 | 0.963866 | 0.963880 | 0.964020 | 0.96402 | 0.96412 |  | 33.5828 | 33.5830 | 33.5839 | 33.5905 | 33.5892 | 33.5929
|  |  | D3 | 0.965465 | 0.96549 | 0.96548 | 0.965502 | 0.965523 |  |  | 33.6454 | 33.6464 | 33.6458 | 33.6470 | 33.6473
|  |  | D4 | 0.960955 | 0.960994 | 0.961008 | 0.961028 | 0.961038 |  |  | 33.4692 | 33.4695 | 33.4707 | 33.4726 | 33.4722
|  |  | D5 | 0.928856 | 0.928876 | 0.928902 | 0.928955 | 0.928998 |  |  | 32.2191 | 32.2196 | 32.2204 | 32.2228 | 32.2246
|  |  | D6 | 0.964414 | 0.964420 | 0.964468 | 0.964548 | 0.964597 | 0.964590 | 0.964592 | 33.6041 | 33.6055 | 33.6066 | 33.6099 | 33.6118 | 33.6119 | 33.6119
|  |  | D7 | 0.96432 | 0.964352 | 0.964353 | 0.964443 | 0.964436 | 0.964425 |  | 33.6011 | 33.6020 | 33.6016 | 33.6057 | 33.6058 | 33.6048
|  |  | D8 | 0.957034 | 0.957014 | 0.957051 | 0.951730 | 0.957194 |  |  | 33.3161 | 33.3152 | 33.3167 | 33.3203 | 33.3219
|  |  | D9 | 0.974559 | 0.974531 | 0.974571 | 0.974657 | 0.974725 |  |  | 34.0015 | 34.0005 | 34.0023 | 34.0045 | 34.0074
|  |  | D10 | cond 1st: 0.965205; cond 2nd: 0.965200; cond 3rd: 0.965250; cond 4th: 0.965323 | 33.6344 | 33.6350 | 33.6374 | 33.6395
|  |  | D11 | 0.959931 | 0.960010 | 0.960029 | 0.960075 | 0.960090 | 0.960074 |  | 33.4294 | 33.4315 | 33.4332 | 33.4350 | 33.4356 | 33.4347
0243 | 24 | 1.296780 | D12 | cond 1st: 0.971050; cond 2nd: 0.971075; cond 3rd: 0.971091; cond 4th: 0.971153 | 33.8644 | 33.8650 | 33.8653 | 33.8680
|  |  | D13 | 0.969486 | 0.969498 | 0.969557 | 0.969575 | 0.969577 |  |  | 33.8033 | 33.8027 | 33.8060 | 33.8063 | 33.8062
|  |  | D14 | cond 1st: 0.954648; cond 2nd: 0.954663; cond 3rd: 0.954676; cond 4th: 0.954663 | 33.2233 | 33.2236 | 33.2242 | 33.2239
|  |  | D15 | 0.965136 | 0.965147 | 0.965203 | 0.965220 | 0.965202 |  |  | 33.6327 | 33.6331 | 33.6353 | 33.6359 | 33.6350
|  |  | D16 | 0.962093 | 0.962105 | 0.962150 | 0.962271 | 0.962250 |  |  | 33.5138 | 33.5143 | 33.5158 | 33.5211 | 33.5198
|  |  | D17 | 0.956601 | 0.956611 | 0.956727 | 0.956732 | 0.956765 |  |  | 33.2998 | 33.2996 | 33.3043 | 33.3037 | 33.3053
|  |  | D18 | 0.956779 | 0.956844 | 0.956858 | 0.956816 | 0.954869 |  |  | 33.3061 | 33.3089 | 33.3089 | 33.3079 | 33.3089
0344 | 23.5 | 1.296775 | D19 | 0.955283 | 0.955318 | 0.955277 | 0.955441 | 0.955351 |  |  | 33.2476 | 33.2489 | 33.2476 | 33.2555 | 33.2502
|  |  | D20 | 0.968767 | 0.968784 | 0.968775 | 0.968826 | 0.968867 |  |  | 33.7746 | 33.7749 | 33.7750 | 33.7769 | 33.7804
|  |  | D21 | 0.978577 | 0.978580 | 0.978608 | 0.978642 | 0.978668 |  |  | 34.1589 | 34.1591 | 34.1597 | 34.1611 | 34.1621
0412 | 23.8 | 1.296787 | D22 | .0978288 | 0.978338 | 0.978368 | 0.978420 | 0.978372 |  |  | 34.1476 | 34.1496 | 34.1503 | 34.1533 | 34.1510
0422 |  | 1.296761 | D23 | 0.975691 | 0.975700 | 0.975690 | 0.975856 | 0.975874 |  |  | 34.0462 | 34.0459 | 34.0456 | 34.0521 | 34.0533
|  |  | B11 | cond 1st: 0.976487; cond 2nd: 0.976484; cond 3rd: 0.976543; cond 4th: 0.976589 | 34.0772 | 34.0769 | 34.0794 | 34.0809
|  |  | B12 | 0.974894 | 0.974942 | 0.975024 | 0.975077 | 0.975105 |  |  | 34.0148 | 34.0166 | 34.0180 | 34.0218 | 34.0227
|  |  | B10 | 0.965033 | 0.965041 | 0.965088 | 0.965163 | 0.965152 | 0.965213 |  | 33.6287 | 33.6293 | 33.6301 | 33.6333 | 33.6333 | 33.6361
0455 |  | 1.296764 | B13 Tsal | cond 1st: 0.923084; cond 2nd: 0.923089; cond 3rd: 0.923080 | 31.9948 | 31.9945 | 31.9945
|  |  | B10 again | cond 1st: 0.975989 | 34.0575
0504 |  | 1.296769 | old std #1 | 1.000277 | 1.000300 | 1.000343 | 1.000463 | 1.000526 | 1.000616 |  | 35.0108 | 35.0119 | 35.0130 | 35.0180 | 35.0199 | 35.0241
|  |  | new std #2 | cond 1st: 0.999646; cond 2nd: 0.999650 | 34.9857 | 34.9859
|  |  | standardize | cond 1st: 4.21950-4.21889 dropping fast
0520 |  | 1.297129 | new std #2 | cond 1st: 1.000087 | 35.0029
|  |  | standardize | cond 1st: 4.21963
|  |  | new std #2 | cond 1st: 1.000164 | 35.0069
|  |  | standardize | cond 1st: 4.22095
|  |  | new std #2 | cond 1st: 0.999846 | 34.9934
standardize
|  |  | new std #2 | cond 1st: 0.999592 | 34.9812
|  |  | standardize | cond 1st: 4.22020; cond 2nd: 0.99787
0540 | 23.5 | 1.296760 | new std #2 | cond 1st: 0.999899; cond 2nd: 0.999982; cond 3rd: 0.999982; cond 5th: zero=-0.000000 | 34.9959 | 34.9985 | 34.9985

## EN437 Case D First and only run
Run Date: 05July'07 | Cruise # EN437 |  | SalinometerSN: PortaSal (47323) |  | -ref: 19921 | Stby # 1.296773 |  | Std Seawater #1 & 2 |  | Salt Case: D |  | PLEASE CHECK FORMULAS BEFORE COMPARING DATA
Run Time: 0033 - 0540z | Vessel: Endeavor |  | Bath Temp: 23.002 |  | ref: 39738 | Meas: 4.21960 |  | Batch # P 147 new style bottles |  | Tech: Lynne Butler |  | Q & S columns are not completely alike, missing $s |  |  |  | =IF((O7<("O13+O14"))*AND(O7>("O13-O14")),O7,N6)
year day: 185 | Sample Dates: 26 Jun - 01 July 2007, EN437 |  | Room Temp: ~23.5-24C |  | +ref: 19921 | Zero: -0.00023 to 0.000000 |  | K15=0.99982 | [10 empty] | See D Log
order sampled | CTDcast/Btl Pos or TSal | Salt Btl # | Type | PortaSal1 see log | PortaSal2 see log | PortaSal3 see log | Calc'd avg | Temp | Salinity from PortaSal cond Calculated | Remarks: Cruise, TSalMk#, File, Hand logged Salinity, z, etc. | Salinity from PortaSal | Sal00 from *.btl or Tsal value at time of sample | Sal11 from *.btl or written Tsal value at time of sample | Depth (m) | Salinity from PortaSal - Sal00 from *.btl or Tsal value at time of sample | Salinity from PortaSal - Sal00 from *.btl or Tsal value at time of sample | Salinity from PortaSal - Sal11 from *.btl or Sal11 from *.btl or written Tsal value at time of sample | Salinity from PortaSal - Sal11 from *.btl or Sal11 from *.btl or written Tsal value at time of sample | Calc'd StdDev
1 | Start Std | Start Std |  | 0.99982 | 0.99982 | 0.99982 | 0.99982 | 23 | #NAME? | New Bottle Std read 2nd time 0.99997 |  |  |  | Start Std | Start Std |  | Start Std |  | 0
2 | ctd067 N2 | D1 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=145 | 33.5841 | 33.5984 | 33.5988 | 145 | -0.0143 | -0.0143 | -0.0147 | -0.0147 | #DIV/0!
3 | ctd067 N2 | D2 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=145 | 33.5839 | 33.596 | 33.5962 | 145 | -0.0121 | -0.0121 | -0.0123 | -0.0123 | #DIV/0!
4 | ctd071 N2 | D3 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=190 | 33.6458 | 33.6557 | 33.6558 | 190 | -0.0099 | -0.0099 | -0.01 | -0.01 | #DIV/0!
5 | ctd071 N3 | D4 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.4707 | 33.4533 | 33.4528 | 150 | 0.0174 | 0.0174 | 0.0179 | 0.0179 | #DIV/0!
6 | TSal | D5 | TSal |  |  |  | #DIV/0! | 23 | #NAME? | Tsal | 32.2204 | 32.2109 | 32.2109 | 5 | 0.00955 | 0.00955 | 0.00955 | 0.00955 | #DIV/0!
7 | ctd080 N1 | D6 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=210 | 33.6066 | 33.6128 | 33.6129 | 210 | -0.0062 | -0.0062 | -0.0063 | -0.0063 | #DIV/0!
8 | ctd080 N2 | D7 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 33.602 | 33.6078 | 33.6074 | 200 | -0.0058 | -0.0058 | -0.0054 | -0.0054 | #DIV/0!
9 | ctd080 N3 | D8 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.3167 | 33.3019 | 33.301 | 150 | 0.0148 | 0.0148 | 0.0157 | 0.0157 | #DIV/0!
10 | ctd081 N1 | D9 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=250 | 34.0023 | 34.0184 | 34.0184 | 250 | -0.0161 | -0.0161 | -0.0161 | -0.0161 | #DIV/0!
11 | ctd081 N2 | D10 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 33.635 | 33.6192 | 33.6175 | 200 | 0.0158 | 0.0158 | 0.0175 | 0.0175 | #DIV/0!
12 | ctd081 N3 | D11 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.4332 | 33.4143 | 33.4137 | 150 | 0.0189 | bad | 0.0195 | bad | #DIV/0!
13 | ctd095 N1 | D12 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=214 | 33.8653 | 33.9083 | 33.9088 | 214 | -0.043 | bad | -0.0435 | bad | #DIV/0!
14 | ctd095 N2 | D13 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 33.806 | 33.7856 | 33.7801 | 200 | 0.0204 | bad | 0.0259 | bad | #DIV/0!
15 | ctd095 N3 | D14 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z-150 | 33.2236 | 33.2258 | 33.2252 | 150 | -0.0022 | -0.0022 | -0.0016 | -0.0016 | #DIV/0!
16 | ctd096 N2 | D15 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=170 | 33.635 | 33.6625 | 33.6639 | 170 | -0.0275 | bad | -0.0289 | bad | #DIV/0!
17 | ctd096 N3 | D16 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.5143 | 33.5039 | 33.5041 | 150 | 0.0104 | 0.0104 | 0.0102 | 0.0102 | #DIV/0!
18 | ctd116 N1 | D17 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=178 | 33.3037 | 33.3178 | 33.3176 | 178 | -0.0141 | -0.0141 | -0.0139 | -0.0139 | #DIV/0!
19 | ctd116 N2 | D18 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=178 | 33.3089 | 33.3181 | 33.3178 | 178 | -0.0092 | -0.0092 | -0.0089 | -0.0089 | #DIV/0!
20 | ctd116 N3 | D19 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.2476 | 33.2484 | 33.2481 | 150 | -0.0008 | -0.0008 | -0.0005 | -0.0005 | #DIV/0!
21 | ctd117 N3 | D20 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.775 | 33.8241 | 33.825 | 150 | -0.0491 | bad | -0.05 | bad | #DIV/0!
22 | ctd132 N1 | D21 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=230 | 34.1597 | 34.1668 | 34.1667 | 230 | -0.0071 | -0.0071 | -0.007 | -0.007 | #DIV/0!
23 | ctd132 N2 | D22 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 34.1496 | 34.1562 | 34.156 | 200 | -0.0066 | -0.0066 | -0.0064 | -0.0064 | #DIV/0!
24 | ctd132 N3 | D23 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 34.0459 | 34.0256 | 34.025 | 150 | 0.0203 | bad | 0.0209 | bad | #DIV/0!
26 | ctd148 N1 | B11 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 34.0794 | 34.0857 | 34.0853 | 200 | -0.0063 | -0.0063 | -0.0059 | -0.0059 | #DIV/0!
27 | ctd148 N3 | B12 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 34.018 | 33.9699 | 33.9692 | 150 | 0.0481 | bad | 0.0488 | bad | #DIV/0!
28 | ctd149 N2 | B10 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.6301 | 33.6359 | 33.6362 | 150 | -0.0058 | -0.0058 | -0.0061 | -0.0061 | #DIV/0!
30 | End Std #1 | End Std #1 | End Std #1 |  |  |  | #DIV/0! | 23 | #NAME? | End Std #1 |  |  |  | End Std #1 | 0 | 0 | 0 | 0 | #DIV/0!
31 | End Std #2 | End Std #2 | End Std #2 |  |  |  | #DIV/0! | 23 | #NAME? | End Std #2 |  |  |  | End Std #2 | 0 | 0 | 0 | 0 | #DIV/0!
[13 empty] | Average |  | -0.002325 | -0.0025553 | -0.0019827 | -0.0023289
flush w/DI at end of run. | [12 empty] | Std Dev |  | 0.020574 | 0.010758 | 0.021256 | 0.01105
[13 empty] | Median |  | -0.006 | -0.0062 | -0.006 | -0.0061
[13 empty] | Avg+StdDev |  | 0.018249 |  | 0.019273
[13 empty] | Avg-StdDev |  | -0.022899 |  | -0.023239
29 | TSal | B13 | TSal | Tsal taken then, not temp equilibrated |  |  |  | 23 |  |  | 31.9945 | 31.9859 |  | TSal | 0.00859 | 0.00859 | 31.9945 | bad | #DIV/0!

## EN435 Case D Third Run
Run Date: 31May'07 | Cruise # EN435 |  | SalinometerSN: PortaSal (47323) |  | -ref: 19921 | Stby # 1.29712 |  | Std Seawater #3 |  | Salt Case: D |  | PLEASE CHECK FORMULAS BEFORE COMPARING DATA
Run Time: 1110 - 1400 L | Vessel: Endeavor |  | Bath Temp: 23.001 |  | ref: 39741 | Meas: 4..12815 |  | Batch # P 147 new style bottles |  | Tech: Lynne Butler/ Heather Deese |  | Q & S columns are not completely alike, missing $s |  |  |  | =IF((O7<("O13+O14"))*AND(O7>("O13-O14")),O7,N6)
year day: 151 | Sample Dates: 28 - 30 May 2007, EN435 |  | Room Temp: ~20.9-21.6C |  | +ref: 19921 | Zero: 0.00000 |  | K15=0.99982 |  | Salinity: 34.993
order sampled | CTDcast/Btl Pos, TSal | Salt Btl # | Station | PortaSal1 | PortaSal2 | PortaSal3 | Calc'd avg | Temp | Salinity from PortaSal cond Calculated | Remarks: Cruise, TSalMk#, File, Hand logged Salinity, z, etc. | Salinity from PortaSal | Sal00 from *.btl or Tsal value at time of sample | Sal11 from *.btl or written Tsal value at time of sample | Depth (m) | Salinity from PortaSal - Sal00 from *.btl or Tsal value at time of sample | Salinity from PortaSal - Sal00 from *.btl or Tsal value at time of sample | Salinity from PortaSal - Sal11 from *.btl or Sal11 from *.btl or written Tsal value at time of sample | Salinity from PortaSal - Sal11 from *.btl or Sal11 from *.btl or written Tsal value at time of sample | Calc'd StdDev
1 | Start Std | Start Std |  | 0.99982 | 0.99982 | 0.99982 | 0.99982 | 23 | #NAME? | New Bottle Std read 2nd time 0.99997 | 34.993 | 34.993 | 34.993 | Start Std | Start Std |  | Start Std |  | 0
2 | ctd157 N2 | D1 | CTD | 0.95895 | 0.95895 | 0.95897 | 0.95896 | 23 | #NAME? | z=175 | 33.391 | 33.4322 | 33.4365 | 175 | -0.0412 | bad | -0.0455 | bad | 1.1547e-05
3 | ctd157 N3 | D2 | CTD | 0.95709 | 0.95712 | 0.95705 | 0.95709 | 23 | #NAME? | z=150 | 33.319 | 33.3007 | 33.3014 | 150 | 0.0183 | 0.0183 | 0.0176 | 0.0176 | 3.5119e-05
4 | ctd157 N4 | D3 | CTD | 0.9518 | 0.95184 | 0.95185 | 0.95183 | 23 | #NAME? | z=100 | 33.113 | 33.0956 | 33.0958 | 100 | 0.0174 | 0.0174 | 0.0172 | 0.0172 | 2.6458e-05
5 | ctd166 N1 | D4 | CTD | 0.99698 | 0.99698 | 0.99699 | 0.99698 | 23 | #NAME? | z=250 | 34.881 | 34.9021 | 34.9037 | 250 | -0.0211 | bad | -0.0227 | bad | 5.7735e-06
6 | ctd166 N2 | D5 | CTD | 0.99877 | 0.99875 | 0.99875 | 0.99876 | 23 | #NAME? | z=200 | 34.951 | 34.9504 | 34.9514 | 200 | 0.0006 | 0.0006 | -0.0004 | -0.0004 | 1.1547e-05
7 | ctd166 N3 | D6 | CTD | 0.99511 | 0.99517 | 0.99521 | 0.99516 | 23 | #NAME? | z=150 | 34.81 | 34.795 | 34.7954 | 150 | 0.015 | 0.015 | 0.0146 | 0.0146 | 5.0332e-05
8 | ctd166 N4 | D7 | CTD | 0.99077 | 0.99078 | 0.99079 | 0.99078 | 23 | #NAME? | z=100 | 34.637 | 34.551 | 34.5499 | 100 | 0.086 | bad | 0.0871 | bad | 1e-05
9 | ctd167 N1 | D8 | CTD | 0.9957 | 0.9957 | 0.99571 | 0.9957 | 23 | #NAME? | z=300 | 34.831 | 34.8343 | 34.8352 | 300 | -0.0033 | -0.0033 | -0.0042 | -0.0042 | 5.7735e-06
10 | ctd167 N2 | D9 | CTD | 0.99739 | 0.99739 | 0.9974 | 0.99739 | 23 | #NAME? | z=200 | 34.898 | 34.8952 | 34.8974 | 200 | 0.0028 | 0.0028 | 0.0006 | 0.0006 | 5.7735e-06
11 | ctd167 N3 | D10 | CTD | 0.9814 | 0.9814 | 0.9814 | 0.9814 | 23 | #NAME? | z=150 | 34.27 | 34.2613 | 34.2613 | 150 | 0.0087 | 0.0087 | 0.0087 | 0.0087 | 0
12 | ctd167 N4 | D11 | CTD | 0.96397 | 0.96398 | 0.96399 | 0.96398 | 23 | #NAME? | z=100 | 33.588 | 33.5485 | 33.548 | 100 | 0.0395 | 0.0395 | 0.04 | 0.04 | 1e-05
13 | ctd175 N2 | D12 | CTD | 0.97811 | 0.97812 | 0.97812 | 0.97812 | 23 | #NAME? | z=195 | 34.141 | 34.1399 | 34.1405 | 195 | 0.0011 | 0.0011 | 0.0005 | 0.0005 | 5.7735e-06
14 | ctd175 N3 | D13 | CTD | 0.96993 | 0.96993 | 0.96994 | 0.96993 | 23 | #NAME? | z=150 | 33.82 | 33.7911 | 33.792 | 151 | 0.0289 | 0.0289 | 0.028 | 0.028 | 5.7735e-06
15 | ctd175 N4 | D14 | CTD | 0.96294 | 0.96294 | 0.96294 | 0.96294 | 23 | #NAME? | z=100 | 33.547 | 33.5442 | 33.5456 | 100 | 0.0028 | 0.0028 | 0.0014 | 0.0014 | 0
16 | ctd187 N1 | D15 | CTD | 0.99794 | 0.99794 | 0.99794 | 0.99794 | 23 | #NAME? | z=250 | 34.919 | 34.9194 | 34.9202 | 249 | -0.0004 | -0.0004 | -0.0012 | -0.0012 | 0
17 | ctd187 N2 | D16 | CTD | 0.99815 | 0.99817 | 0.9982 | 0.99817 | 23 | #NAME? | z=200 | 34.928 | 34.9296 | 34.9304 | 200 | -0.0016 | -0.0016 | -0.0024 | -0.0024 | 2.5166e-05
18 | ctd187 N3 | D17 | CTD | 0.99579 | 0.99579 | 0.99577 | 0.99578 | 23 | #NAME? | z=150 | 34.834 | 34.781 | 34.7818 | 150 | 0.053 | bad | 0.0522 | bad | 1.1547e-05
19 | End Std | End Std | End Std | 1.0001 | 1.0001 | 1.0001 | 1.0001 | 23 | #NAME? | End Std | 35.003 | 34.993 | 34.993 | End Std | 0.01 | 0.01 | 0.01 | 0.01 | 0
20 | TSal | D18 | TSal | 0.92432 | 0.92433 | 0.92433 | 0.92433 | 23 | #NAME? | Tsal taken then, not temp equilibrated | 32.043 | 31.843 | 31.843 | TSal | 0.2 | bad | 0.2 | bad | 5.7735e-06
21 | TSal | D18 | TSal | 0.92272 | 0.92273 | 0.92273 | 0.92273 | 23 | #NAME? | Tsal taken then, not temp equilibrated | 31.981 | 32.04 | 32.04 | TSal | -0.059 | bad | -0.059 | bad | 5.7735e-06
[12 empty] | TSal | Average |  | 0.012147 | 0.0129 | 0.010885 | 0.01226
flush w/DI at end of run. | [12 empty] | Std Dev |  | 0.028727 | 0.013703 | 0.031529 | 0.014118
[13 empty] | Median |  | 0.0028 | 0.01185 | 0.0087 | 0.01165
[13 empty] | Avg+StdDev |  | 0.040874 |  | 0.042413
[13 empty] | Avg-StdDev |  | -0.01658 |  | -0.020644

## EN435 D Log
time (local) | temp from multi-meter | stby value | salt bottle number | cond 1st | cond 2nd | cond 3rd | cond 4th | cond 5th | cond 6th | cond 7th | sal 1st | sal 2nd | sal 3rd | sal 4th | sal 5th | sal 6th | sal 7th
1110 |  |  | old std 2
|  |  | new std 3 | cond 1st: Restandardize the PortaSal | Restandardize the PortaSal
1135 | flush 5x |  | new std 3 | 0.99982 | 0.99982 | 0.99982 | 0.99997 | 72772meas 4.21927 |  |  | 34.993 | 34.993 | 34.993
1136 |  | 1.29738 | D1 | cond 1st: 0.95895; cond 2nd: 0.95895; cond 3rd: 0.95897 | 33.391 | 33.391 | 33.392
1149 |  | 1.29739 | D2 | 0.95682 | 0.95691 | 0.95709 | 0.95712 | 0.95705 | 0.95712 |  | 33.308 | 33.311 | 33.318 | 33.319 | 33.317 | 33.320
|  | 1.29738 | D3 | cond 1st: 0.9518; cond 2nd: 0.95184; cond 3rd: 0.95185 | 33.112 | 33.113 | 33.114
1205 | 21.1 |  | D4 | cond 1st: 0.99698; cond 2nd: 0.99698; cond 3rd: 0.99699 | 34.881 | 34.881 | 34.882
1210 | 20.9 | 1.29739 | D5 | 0.99870 | 0.99877 | 0.99875 | 0.99875 | 0.99880 | 0.99881 |  | 34.949 | 34.952 | 34.951 | 34.951 | 34.953 | 34.953
1218 |  | 1.29739 | D6 | 0.99510 | 0.99511 | 0.99517 | 0.99522 | 0.99521 |  |  | 34.808 | 34.808 | 34.810 | 34.811 | 34.812
|  |  | D7 | cond 1st: 0.99077; cond 2nd: 0.99078; cond 3rd: 0.99079 | 34.637 | 34.637 | 34.638
|  |  | D8 | cond 1st: 0.9957; cond 2nd: 0.9957; cond 3rd: 0.99571 | 34.831 | 34.831 | 34.831
|  |  | D9 | cond 1st: 0.99739; cond 2nd: 0.99739; cond 3rd: 0.9974 | 34.898 | 34.897 | 34.898
|  |  | D10 | cond 1st: 0.9814; cond 2nd: 0.9814; cond 3rd: 0.9814 | 34.270 | 34.270 | 34.270
|  |  | D11 | cond 1st: 0.96397; cond 2nd: 0.96398; cond 3rd: 0.96399 | 33.587 | 33.588 | 33.588
|  |  | D12 | cond 1st: 0.97811; cond 2nd: 0.97812; cond 3rd: 0.97812 | 34.141 | 34.141 | 34.141
1303 |  | 1.29738 | D13 | cond 1st: 0.96993; cond 2nd: 0.96993; cond 3rd: 0.96994 | 33.820 | 33.820 | 33.820
1307 | 21.3 | 1.29738 | D14 | cond 1st: 0.96294; cond 2nd: 0.96294; cond 3rd: 0.96294 | 33.547 | 33.547 | 33.547
1313 | 21.4 | 1.29738 | D15 | cond 1st: 0.99794; cond 2nd: 0.99794; cond 3rd: 0.99794 | 34.919 | 34.919 | 34.919
|  |  | D16 | 0.99815 | 0.99815 | 0.99817 | 0.99820 | 0.99827 | 0.99828 | 0.99826 | 34.927 | 34.927 | 34.928 | 34.929 | 34.932 | 34.932 | 34.932
|  |  | D17 | cond 1st: 0.99579; cond 2nd: 0.99579; cond 3rd: 0.99577 | 34.835 | 34.834 | 34.834
|  |  | old std 3 | cond 1st: 1.00006; cond 2nd: 1.00006; cond 3rd: 1.00006; cond 4th: 1.00006 | 35.002 | 35.003 | 35.003 | 35.003
|  |  | D18 | cond 1st: 0.92432; cond 2nd: 0.92433; cond 3rd: 0.92433; cond 4th: 0.92432 | 32.043 | 32.043 | 32.043 | 32.043
1400 | 21.6 | 1.29737 | D18 | cond 1st: 0.92272; cond 2nd: 0.92273; cond 3rd: 0.92273 | 31.981 | 31.981 | 31.981

## EN435 Case B Second Run
Run Date: 29May'07 | Cruise # EN435 |  | SalinometerSN: PortaSal (47323) |  | -ref: | Stby # 1.29709 |  | Std Seawater |  | Salt Case: B
Run Time: 2310 - 0045 L | Vessel: Endeavor |  | Bath Temp: 23.001 |  | ref: 72772 | Meas: 4.21927 |  | Batch # P 147 new style bottles |  | Tech: Lynne Butler | [5 empty] | =IF((O7<("O13+O14"))*AND(O7>("O13-O14")),O7,N6)
j day: 149 | Sample Dates: 23 - 25 May 2007, EN435 |  | Room Temp: ~23C |  | +ref: | Zero: 0.00000 |  | K15=0.99982 |  | Salinity: 34.993
order sampled | CTDcast/Btl Pos, TSal | Salt Btl # | Station | PortaSal1 | PortaSal2 | PortaSal3 | Calc'd avg | Temp | Salinity from PortaSal cond Calculated | Remarks: Cruise, TSalMk#, File, Hand logged Salinity, z, etc. | Salinity from PortaSal | Sal00 from *.btl or Tsal value at time of sample | Sal11 from *.btl or written Tsal value at time of sample | Depth (m) | Salinity from PortaSal - Sal00 from *.btl or Tsal value at time of sample | Salinity from PortaSal - Sal00 from *.btl or Tsal value at time of sample | Salinity from PortaSal - Sal11 from *.btl or Sal11 from *.btl or written Tsal value at time of sample | Salinity from PortaSal - Sal11 from *.btl or Sal11 from *.btl or written Tsal value at time of sample | Calc'd StdDev
1 | Start Std | Start Std |  | 0.99982 | 0.99982 | 0.99981 | 0.99982 | 23 | #NAME? | New Bottle Std | 34.992 | Start Std | Start Std | Start Std | Start Std |  | Start Std |  | 5.7735e-06
2 | ctd087 N1 | B1 | CTD | 0.96804 | 0.96804 | 0.96804 | #DIV/0! | 23 | #NAME? | z=157 | 33.746 | 33.7536 | 33.7546 |  | -0.0076 | -0.0076 | -0.0086 | -0.0086 | #DIV/0!
3 | ctd087 N2 | B2 | CTD | 0.96798 | 0.96795 | 0.96796 | #DIV/0! | 23 | #NAME? | z=157 | 33.744 | 33.7538 | 33.7548 |  | -0.0098 | -0.0098 | -0.0108 | -0.0108 | #DIV/0!
5 | ctd088 N2 | B4 | CTD | 0.96966 | 0.96965 | 0.96964 | #DIV/0! | 23 | #NAME? | z=160 | 33.809 | 33.8103 | 33.8112 |  | -0.0013 | -0.0013 | -0.0022 | -0.0022 | #DIV/0!
6 | ctd088 N3 | B5 | CTD | 0.96956 | 0.96957 | 0.96954 | #DIV/0! | 23 | #NAME? | z=150 | 33.806 | 33.8108 | 33.8117 |  | -0.0048 | -0.0048 | -0.0057 | -0.0057 | #DIV/0!
7 | ctd088 N4 | B6 | CTD | 0.96484 | 0.96497 | 0.96502 | #DIV/0! | 23 | #NAME? | z=100 | 33.626 | 33.6235 | 33.6245 |  | 0.0025 | 0.0025 | 0.0015 | 0.0015 | #DIV/0!
8 | ctd126 N1 | B7 | CTD | 0.96727 | 0.96731 | 0.96730 | #DIV/0! | 23 | #NAME? | z=145 | 33.718 | 33.7679 | 33.7692 |  | -0.0499 | bad | -0.0512 | bad | #DIV/0!
9 | ctd126 N2 | B8 | CTD | 0.96391 | 0.96390 | 0.96393 | #DIV/0! | 23 | #NAME? | z=130 | 33.585 | 33.582 | 33.5825 |  | 0.003 | 0.003 | 0.0025 | 0.0025 | #DIV/0!
10 | ctd126 N3 | B9 | CTD | 0.96152 | 0.96155 | 0.96155 | #DIV/0! | 23 | #NAME? | z=110 | 33.493 | 33.4881 | 33.4816 |  | 0.0049 | 0.0049 | 0.0114 | bad | #DIV/0!
11 | ctd127 N1 | B10 | CTD | 0.98122 | 0.98119 | 0.98121 | #DIV/0! | 23 | #NAME? | z=277 | 34.262 | 34.265 | 34.2651 |  | -0.003 | -0.003 | -0.0031 | -0.0031 | #DIV/0!
12 | ctd127 N2 | B11 | CTD | 0.98102 | 0.98116 | 0.98114 | #DIV/0! | 23 | #NAME? | z=230 | 34.259 | 34.2437 | 34.2442 |  | 0.0153 | bad | 0.0148 | bad | #DIV/0!
13 | ctd127 N3 | B12 | CTD | 0.97870 | 097873 | 0.97873 | #DIV/0! | 23 | #NAME? | z=180 | 34.165 | 34.1623 | 34.1627 |  | 0.0027 | 0.0027 | 0.0023 | 0.0023 | #DIV/0!
15 | End Std | End Std | End Std | 0.99989 | 0.99991 |  | 0.9999 | 23 | #NAME? | End Std | 34.996 | 34.992 | 34.992 | End Std | 0.004 | 0.004 | 0.004 | 0.004 | 1.4142e-05
[12 empty] | End Std | Average |  | -0.0043636 | -0.0020125 | -0.0073556 | -0.0037714
[13 empty] | Std Dev |  | 0.016579 | 0.0052697 | 0.017715 | 0.0049409
[13 empty] | Median |  | -0.0013 | -0.00215 | -0.0031 | -0.0031
[13 empty] | Avg+StdDev |  | 0.012216 |  | 0.010359
[13 empty] | Avg-StdDev |  | -0.020943 |  | -0.02507
4 | ctd087 N3 | B3 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150, broken bottle, not analyzed | not analyzed | 33.7503 | 33.7513 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #DIV/0!

## EN435 Case O First Run
Run Date: 29May'07 | Cruise # EN435 |  | SalinometerSN: PortaSal (47323) |  | -ref: 19924 | Stby # 1.29705 |  | Std Seawater |  | Salt Case: O & B
Run Time: 1910 - 2300 L | Vessel: Endeavor |  | Bath Temp: 23.001 |  | ref: 39738 | Meas: 4.21937 |  | Batch # P 147 new style bottles |  | Tech: Lynne Butler | [5 empty] | =IF((O7<("O13+O14"))*AND(O7>("O13-O14")),O7,N6)
j day: 149 | Sample Dates: 23 - 25 May 2007, EN435 |  | Room Temp: ~23C |  | +ref: 19924 | Zero: 0.00000 |  | K15=0.99982 |  | Salinity: 34.993
order analyzed | CTDcast/Btl Pos, TSal | Salt Btl # | Station | PortaSal1 | PortaSal2 | PortaSal3 | Calc'd avg | Temp | Salinity from PortaSal cond Calculated | Remarks: Cruise, TSalMk#, File, Hand logged Salinity, z, etc. | Salinity from PortaSal | Sal00 from *.btl or Tsal value at time of sample | Sal11 from *.btl or written Tsal value at time of sample | Depth (m) | Salinity from PortaSal - Sal00 from *.btl or Tsal value at time of sample | Salinity from PortaSal - Sal00 from *.btl or Tsal value at time of sample | Salinity from PortaSal - Sal11 from *.btl or Sal11 from *.btl or written Tsal value at time of sample | Salinity from PortaSal - Sal11 from *.btl or Sal11 from *.btl or written Tsal value at time of sample | Calc'd StdDev
1 | Start Std | Start Std |  | 34.992 | 34.992 | 34.992 | 34.992 | 23 | #NAME? | New Bottle Std 1 | 34.992 | 34.993 | 34.993 | Start Std | Start Std | Start Std | Start Std | 34.992 | 0
2 | ctd054 N2 | Y01 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=160 | 33.856 | 33.8599 | 33.8611 |  | -0.0039 | -0.0039 | -0.0051 | -0.0051 | #DIV/0!
3 | ctd054 N3 | Y02 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.86 | 33.8581 | 33.8596 |  | 0.0019 | bad | 0.0004 | 0.0004 | #DIV/0!
4 | ctd054 N4 | Y03 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=100 | 33.433 | 33.3981 | 33.3994 |  | 0.0349 | bad | 0.0336 | bad | #DIV/0!
5 | ctd055 N2 | Y04 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=180 | 33.907 | 33.934 | 33.9344 |  | -0.027 | -0.027 | -0.0274 | bad | #DIV/0!
6 | ctd055 N3 | Y05 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.772 | 33.7229 | 33.7234 |  | 0.0491 | bad | 0.0486 | bad | #DIV/0!
7 | ctd055 N4 | Y06 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=100 | 33.092 | 33.0612 | 33.0611 |  | 0.0308 | bad | 0.0309 | bad | #DIV/0!
8 | ctd069 N2 | Y07 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=190 | 34.279 | 34.2857 | 34.287 |  | -0.0067 | -0.0067 | -0.008 | -0.008 | #DIV/0!
9 | ctd069 N3 | Y08 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 34.137 | 34.0193 | 34.0189 |  | 0.1177 | bad | 0.1181 | bad | #DIV/0!
10 | ctd069 N4 | Y09 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=100 | 33.676 | 33.5869 | 33.586 |  | 0.0891 | bad | 0.09 | bad | #DIV/0!
11 | ctd070 N1 | Y10 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=230 | 33.244 | 34.2459 | 34.247 |  | -1.0019 | bad | -1.003 | bad | #DIV/0!
12 | ctd070 N2 | Y11 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=185 | 34.275 | 34.2808 | 34.2826 |  | -0.0058 | -0.0058 | -0.0076 | -0.0076 | #DIV/0!
13 | ctd070 N3 | Y12 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.865 | 33.8331 | 33.8341 |  | 0.0319 | bad | 0.0309 | bad | #DIV/0!
14 | ctd072 N1 | Y13 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=220 | 34.234 | 34.2399 | 34.2405 |  | -0.0059 | -0.0059 | -0.0065 | -0.0065 | #DIV/0!
15 | ctd072 N2 | Y14 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 34.162 | 34.1507 | 34.1513 |  | 0.0113 | bad | 0.0107 | 0.0107 | #DIV/0!
16 | ctd072 N3 | Y15 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.734 | 33.7272 | 33.7278 |  | 0.0068 | bad | 0.0062 | 0.0062 | #DIV/0!
17 | ctd073 N1 | Y16 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=218 | 34.207 | 34.2258 | 34.2265 |  | -0.0188 | -0.0188 | -0.0195 | -0.0195 | #DIV/0!
18 | ctd073 N2 | Y17 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 34.097 | 34.1 | 34.1009 |  | -0.003 | -0.003 | -0.0039 | -0.0039 | #DIV/0!
19 | ctd073 N3 | Y18 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 33.725 | 33.7312 | 33.7325 |  | -0.0062 | -0.0062 | -0.0075 | -0.0075 | #DIV/0!
20 | ctd085 N1 | Y19 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=215 | 34.171 | 34.174 | 34.1749 |  | -0.003 | -0.003 | -0.0039 | -0.0039 | #DIV/0!
21 | ctd085 N2 | Y20 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 34.164 | 34.1611 | 34.1637 |  | 0.0029 | bad | 0.0003 | 0.0003 | #DIV/0!
22 | ctd085 N3 | Y21 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 34.119 | 34.1185 | 34.1196 |  | 0.0005 | bad | -0.0006 | -0.0006 | #DIV/0!
23 | ctd086 N1 | Y22 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=212 | 34.153 | 34.1622 | 34.1632 |  | -0.0092 | -0.0092 | -0.0102 | -0.0102 | #DIV/0!
24 | ctd086 N2 | Y23 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=200 | 34.152 | 34.1597 | 34.1609 |  | -0.0077 | -0.0077 | -0.0089 | -0.0089 | #DIV/0!
25 | ctd086 N3 | Y24 | CTD |  |  |  | #DIV/0! | 23 | #NAME? | z=150 | 34.049 | 33.9874 | 33.9877 |  | 0.0616 | bad | 0.0613 | bad | #DIV/0!
26 | May 24 2007 17:43:59, Mark1 | B21 | Tsal |  |  |  | #DIV/0! | 23 | #NAME? |  | 29.601 | 29.6057 | 29.6057 |  | -0.00467 | -0.00467 | -0.00467 | -0.00467 | #DIV/0!
29 | End Std | End Std |  |  |  |  | #DIV/0! | 23 | #NAME? | old std 1 | 35.019 | 34.9976 | 34.9976 | End Std | 0.0214 | bad | 0.0214 | 0.0214 | #DIV/0!
30 | End Std | End Std |  |  |  |  | #DIV/0! | 23 | #NAME? | new std 2 | 34.983 | 34.9976 | 34.9976 | End Std | -0.0146 | -0.0146 | -0.0146 | -0.0146 | #DIV/0!
[12 empty] | End Std | Average |  | -0.026611 | -0.0061425 | 0.0047614 | -0.0046617
[13 empty] | Std Dev |  | 0.024981 | 0.0028177 | 0.025231 | 0.0042505
[13 empty] | Median |  | -0.003 | -0.006185 | -0.0039 | -0.004285
[13 empty] | Avg+StdDev |  | -0.0016293 |  | 0.029993
[13 empty] | Avg-StdDev |  | -0.051592 |  | -0.02047
27 | unk | D2 | unk |  |  |  | #DIV/0! | 23 | #NAME? | not full | 32.344 |  |  |  | 32.344 | bad | 32.344 | bad | #DIV/0!
28 | unk | B19 | unk |  |  |  | #DIV/0! | 23 | #NAME? |  | 32.076 |  |  |  | 32.076 | bad | 32.076 | bad | #DIV/0!

## EN435 O and B Log
time (local) | temp | stby value | sample yellow tape number | cond 1st | cond 2nd | cond 3rd | cond 4th | cond 5th | cond 6th | cond 7th |  | sal 1st | sal 2nd | sal 3rd | sal 4th | sal 5th | sal 6th | sal 7th
|  | 1.29705 | new std 1 | cond 1st: 0.99982; cond 2nd: 0.99982; cond 3rd: 0.99982 |  | 34.992
|  | 1.29704 | Y01 | 0.97086 | 0.97072 | 0.97084 | 0.97087 | 0.97091 | 0.97085 | 0.97094 |  | 33.857 | 33.850 | 33.856 | 33.857 | 33.858 | 33.856 | 33.860
|  | 1.29704 | 2 | 0.97086 | 0.97086 | 0.97092 | 0.97095 | 0.97094 | 0.97095 | 0.97100 |  | 33.856 | 33.857 | 33.859 | 33.860 | 33.860 | 33.860 | 33.862
|  | 1.29704 | 3 | 0.96000 | 0.96000 | 0.96002 | 0.96003 | 0.96007 | 0.96017 | 0.97022 |  | 33.432 | 33.432 | 33.433 | 33.433 | 33.435 | 33.439 | 33.441
|  | 1.29702 | 4 | 0.97206 | 0.97208 | 0.97207 | 0.97213 | 0.97216 | 0.97215 | 0.97217 |  | 33.904 | 33.904 | 33.904 | 33.907 | 33.907 | 33.907 | 33.908
|  | 1.29703 | 5 | cond 1st: 0.96873; cond 2nd: 0.96872; cond 3rd: 0.96871; cond 4th: 0.96871 |  | 33.773 | 33.773 | 33.772 | 33.773
|  |  | 6 | 0.95126 | 0.95128 | 0.95128 | 0.95133 | 0.95131 |  |  |  | 33.091 | 33.092 | 33.092 | 33.093 | 33.093
|  |  | 7 | 0.98156 | 0.98153 | 0.98163 | 0.98163 | 0.98163 |  |  |  | 34.276 | 34.275 | 34.279 | 34.279 | 34.279
|  |  | 8 | cond 1st: 0.97802; cond 2nd: 0.97802; cond 3rd: 0.97800; cond 4th: 0.97800 |  | 34.137 | 34.137 | 34.136 | 34.137
|  |  | 9 | cond 1st: 0.96624; cond 2nd: 0.96624; cond 3rd: 0.96624 |  | 33.676 | 33.676 | 33.676
2030 |  |  | 10 | 0.98064 | 0.98064 | 0.98082 | 0.98076 | 0.98076 |  |  |  | 34.240 | 34.240 | 34.247 | 34.244 | 34.244
|  |  | 11 | cond 1st: 0.98152; cond 2nd: 0.98153; cond 3rd: 0.98155 |  | 34.274 | 34.275 | 34.275
|  | 1.29703 | 12 | 0.97091 | 0.97091 | 0.97097 | 0.97108 | 0.97108 | 0.97109 |  |  | 33.859 | 33.859 | 33.861 | 33.865 | 33.865 | 33.866
|  |  | 13 | 0.98024 | 0.98025 | 0.98030 | 0.98040 | 0.98047 | 0.98051 | 0.98049 |  | 34.224 | 34.224 | 34.226 | 34.232 | 34.233 | 34.234 | 34.234
|  |  | 14 | cond 1st: 0.97853; cond 2nd: 0.97864; cond 3rd: 0.97865; cond 4th: 0.97865 |  | 34.157 | 34.162 | 34.162 | 34.162
|  |  | 15 | cond 1st: 0.96767; cond 2nd: 0.96772; cond 3rd: 0.96771; cond 4th: 0.96773 |  | 33.732 | 33.734 | 33.733 | 33.734
|  |  | 16 | cond 1st: 0.97981; cond 2nd: 0.97982; cond 3rd: 0.97982 |  | 34.207 | 34.207 | 34.208
2120 |  | 1.29701 | 17 | cond 1st: 0.97699; cond 2nd: 0.97698; cond 3rd: 0.97700 |  | 34.097 | 34.096 | 34.097 | 34.098
|  |  | 18 | cond 1st: 0.96751; cond 2nd: 0.96749; cond 3rd: 0.96750 |  | 33.726 | 33.725 | 33.725
|  |  | 19 | 0.97886 | 0.97889 | 0.97893 | 0.97889 | 0.97887 | 0.97889 | 0.97888 |  | 34.170 | 34.171 | 34.173 | 34.171 | 34.170 | 34.171 | 34.171
|  |  | 20 | cond 1st: 0.97869; cond 2nd: 0.97870; cond 3rd: 0.97871 |  | 34.163 | 34.164 | 34.164
|  |  | 21 | 0.97749 | 0.97751 | 0.97756 | 0.97759 | 0.97759 |  |  |  | 34.116 | 34.117 | 34.119 | 34.120 | 34.120
|  | 1.29702 | 22 | cond 1st: 0.97841; cond 2nd: 0.97843; cond 3rd: 0.97843; cond 4th: 0.97843 |  | 34.152 | 34.153 | 34.153 | 34.153
2211 |  |  | 23 | cond 1st: 0.97840; cond 2nd: 0.97840; cond 3rd: 0.97844; cond 4th: 0.97843 |  | 34.152 | 34.152 | 34.154 | 34.153
|  |  | 24 | cond 1st: 0.97572; cond 2nd: 0.97574; cond 3rd: 0.97577; cond 4th: 0.97579 |  | 34.047 | 34.048 | 34.049 | 34.050 | 34.049
|  |  | B21 | 0.86098 | 0.86098 | 0.86098 | 0.86103 | 0.86109 | 0.86109 | 0.86107 |  | 29.599 | 29.599 | 29.599 | 29.601 | 29.603 | 29.604 | 29.603
|  |  | D2 | 0.93204 | 0.93206 | 0.93208 | 0.93207 | 0.93208 |  |  |  | 32.343 | 32.343 | 32.344 | 32.344 | 32.344
|  |  | B19 | cond 1st: 0.92518; cond 2nd: 0.92520; cond 3rd: 0.92518 |  | 32.076 | 32.077 | 32.076
|  | 1.29704 | old std 1 | cond 1st: 1.00045; cond 2nd: 1.00049; cond 3rd: 1.00057; cond 4th: 1.00075 |  | 35.018 | 35.019 | 35.023 | 35.030
~2300 | 21.8-20.8 |  | new std 2 | 0.99970 | 0.99955 | 0.99955 | 0.99956 | 0.99958 |  |  |  | 34.986 | 34.982 | 34.983 | 34.983 | 34.983
2310 |  |  | new std 2 | cond 1st: 0.99973
|  | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal | Restandardize the PortaSal
|  | 1.29709 | new std 2 | cond 1st: 0.99982; cond 2nd: 0.99981; cond 3rd: 72772meas 4.21927
|  |  | B1 | cond 1st: 0.96804; cond 2nd: 0.96804; cond 3rd: 0.96804 |  | 33.746 | 33.746 | 33.746
|  |  | B2 | cond 1st: 0.96798; cond 2nd: 0.96798; cond 3rd: 0.96795; cond 4th: 0.96796 |  | 33.744 | 33.744 | 33.743 | 33.743
|  |  | B3 | cond 1st: broken glass, won't seal, sample not analyzed |  | broken glass, won't seal, sample not analyzed
2336 | 21.5 |  | B4 | 0.96944 | 0.96948 | 0.96942 | 0.96961 | 0.96966 | 0.96965 | 0.96964 |  | 33.801 | 33.802 | 33.804 | 33.808 | 33.809 | 33.809 | 33.809
|  | 1.29712 | B5 | cond 1st: 0.96956; cond 2nd: 0.96957; cond 3rd: 0.96954 |  | 33.806 | 33.807 | 33.805
|  |  | B6 | 0.96482 | 0.96484 | 0.96497 | 0.96502 | 0.96503 |  |  |  | 33.621 | 33.621 | 33.626 | 33.628 | 33.628
2352 | 21.3 |  | B7 | 0.96721 | 0.96722 | 0.96727 | 0.96731 | 0.96730 |  |  |  | 33.714 | 33.714 | 33.716 | 33.718 | 33.718 | 33.720
|  |  | B8 | 0.96387 | 0.96391 | 0.96390 | 0.96393 | 0.96394 |  |  |  | 33.583 | 33.585 | 33.585 | 33.585 | 33.586
|  |  | B9 | cond 1st: 0.96150; cond 2nd: 0.96152; cond 3rd: 0.96155; cond 4th: 0.96155 |  | 33.490 | 33.491 | 33.493 | 33.493
|  |  | B10 | cond 1st: 0.98111; cond 2nd: 0.98122; cond 3rd: 0.98119; cond 4th: 0.98121 |  | 34.258 | 34.262 | 34.261 | 34.262 | 34.268
|  | 1.29709 | B11 | 0.98098 | 0.98102 | 0.98116 | 0.98114 | 0.98117 |  |  |  | 34.253 | 34.254 | 34.260 | 34.259 | 34.261
|  |  | B12 | 0.97859 | 0.97863 | 0.97870 | 097873 | 0.97873 |  |  |  | 34.159 | 34.161 | 34.164 | 34.165 | 34.165
0045 |  |  | std 2 | cond 1st: 0.99989; cond 2nd: 0.99991 |  | 34.996 | 34.997 | flushed 2x only