## ESPdon
ESPdon - May-July 2013 results - preliminary
hab 1, 2, 3, 4 and stx 1 assays were the post-can QC and well tests
Important Note: even though descriptively we often see light spots on the array at the NA-1 probe location (weak positives), the results from the quantitative analysis of the 40sec exposures indicate that the spot intensities are <50 cells/L, i.e., below detection limit of the method. So, the very weak positives may be real and near the detection limit or could be false positives. Ground truth samples show very low cell concentrations based on live count observations under microscope.
Date | assay # | Descriptive Result from NA1 spots on array | Esimated Range of cell concentration (cells/L) | ground truth results Live counts (cells/L) | Comments
2013-05-30 | hab 5 stx 2 | negative | <50 cells/L | 0
2013-05-31 | NA | NA | NA | NA
2013-06-01 | hab 6 | negative | <50 cells/L | NA
2013-06-02 | hab 7 | negative | <50 cells/L | NA
2013-06-03 | hab 8 stx 3 | negative | <50 cells/L | NA
2013-06-04 | hab 9- failed to start | NA | <50 cells/L | NA
2013-06-05 | hab 9 - restarted | negative | <50 cells/L | NA
2013-06-06 | hab 10 | negative | <50 cells/L | NA
2013-06-07 | hab 11 | weak positive | 50-75 cells/L | NA
2013-06-08 | hab 12 stx 4 | weak positive | 50-75 cells/L | NA
2013-06-09 | hab 13 | weak positive | <50 cells/L | NA
2013-06-10 | hab 14 | negative | <50 cells/L | NA
2013-06-11 | hab 15 stx 5 | weak positive | <50 cells/L | NA
2013-06-11 | hab 16 | extremely weak positive | <50 cells/L | NA | High background, can't see spots
2013-06-12 | hab 17 stx 6 | negative | <50 cells/L | <14 | high background, can't see spots
2013-06-12 | hab 18 | weak positive | 50-75 cells/L | 42 | earlier groundtruth for STX = 98 cells/L
2013-06-13 | hab 19 stx 7 | weak positive | 50-75 cells/L | 14 | live counts ranged from 14-112 during the day
2013-06-13 | hab 20 | weak positive | 50-75 cells/L | NA
2013-06-14 | hab 21 | weak positive | <50 cells/L | NA
2013-06-15 | NA | NA | NA | NA
2013-06-16 | NA | NA | NA | NA
2013-06-17 | hab 22 st8 | negative | <50 cells/L | NA
2013-06-18 | hab 23 | negative | <50 cells/L | NA
2013-06-19 | hab 24 | negative | <50 cells/L | NA
2013-06-20 | hab 25 | very weak positive | <50 cells/L | NA
2013-06-21 | hab 26 stx 9 | Negative | <50 cells/L | NA | Array very swirled, very low spot intensity
2013-06-22 | NA | NA | NA
2013-06-23 | NA | NA | NA
2013-06-24 | hab 27 | negative | <50 cells/L | NA
2013-06-25 | NA | NA | NA
2013-06-26 | hab 28 stx 10 | weak positive | <50 cells/L | NA
2013-06-27 | NA | NA | NA
Note on C14: Bruce Keafer: mulitiple probe spots also weak
Note on C15: Bruce Keafer: mulitiple probe spots also weak
Note on C16: Bruce Keafer: multiple probe spots also weak
Note on E5: Bruce Keafer: All groundtruth live count samples were collected by bucket