## ESPdon
ESPdon Standard Curve Calibration | [5 empty] | Field Sample Calculations | [9 empty] | ESPdon 2014 Time Series Chart
[6 empty] | Linear Regression Equation |  |  | y = mx+b
Probe | Standards (cells/ml lysate) | Field Concentration (Cells/L) | NA1 Spot Intensity |  |  | ESPdon Regression Equation |  |  | y = 36.764x + 3877
NA1 | 0 | 0 | 4672.0714 |  |  |  |  | y = | Spot Intensity
NA1 | 78 | 36 | 5584.9357 |  |  |  |  | m = | 36.764
NA1 | 156 | 78 | 6719.5357 |  |  |  |  | b = | 3877
NA1 | 313 | 156 | 8396.2929 |  |  |  |  | x = | Field Concentration (Cells/L)
NA1 | 625 | 313 | 15864.2714
NA1 | 1250 | 625 | 25972.7357
NA1 | 2500 | 1250 | 50294.5357 |  |  | 2014 Deployment Results
|  |  |  | Date of Sample | Assay # | Descriptive Result of Array | NA1 Spot Intensity Mean | NA1 Spot STDEV | NA1 Spot Minimum | NA1 Spot Maximum | Background Average | Calculated Field Concentration (Cells/L) | Plotted Field Concentration (Cells/L) | Ground Truth Results (Cells/L) | Comments
|  |  |  | 2014-05-02 | HAB 4 | High Background / No NA1 Spots Detected | 14772 | 3179 | 10135 | 21017 | 8610 | 296.3497 | <100 |  | Very High Background, skewing cell calculation
|  |  |  | 2014-05-03 | HAB 5 | Detection of NA1 with ImajeJ Adjustment | 6499 | 435 | 5862 | 7059 | 4421 | 71.3198 | 71.3198
|  |  |  | 2014-05-04 | HAB 6 | Slight Detection of NA1 with ImajeJ Adjustment | 8062 | 582 | 7293 | 9176 | 5340 | 113.8342 | 113.8342
|  |  |  | 2014-05-05 | HAB 7 | Detection of NA1 Spots | 8943 | 779 | 7830 | 10328 | 5186 | 137.7978 | 137.7978
|  |  |  | 2014-05-06 | HAB 8 | No NA1 Spots Detected | 7564 | 662 | 6360 | 8419 | 5484 | 100.2883 | <100
|  |  |  | 2014-05-07 | HAB 9 | Detection of NA1 Spots | 8692 | 708 | 7860 | 10214 | 4996 | 130.9705 | 130.9705
|  |  |  | 2014-05-08 | HAB 10 | Detection of NA1 Spots | 9384 | 641 | 8260 | 10338 | 5519 | 149.7933 | 149.7933
|  |  |  | 2014-05-09 | HAB 11 | No NA1 Spots Detected | 8807 | 922 | 7797 | 10829 | 5615 | 134.0986 | <100
|  |  |  | 2014-05-12 | HAB 12 | No NA1 Spots Detected / High Background | 10379 | 948 | 8973 | 11960 | 6865 | 176.8578 | <100 |  | Slightly higher background, no spots are visible
|  |  |  | 2014-05-13 | HAB 13 | Detection of NA1 Spots / High Background | 9651 | 743 | 8616 | 11425 | 7086 | 157.0558 | 157.0558
|  |  |  | 2014-05-14 | HAB 14 | Detection of NA1 Spots | 11428 | 489 | 10811 | 12355 | 6392 | 205.3911 | 205.3911
|  |  |  | 2014-05-15 | HAB 15 | No NA1 Spots Detected / High Background | 13554 | 1305 | 11461 | 15569 | 7840 | 263.2195 | <100 |  | Higher background, no spots are visible
|  |  |  | 2014-05-16 | HAB 16 | No NA1 Spots Detected | 8994 | 557 | 8241 | 10079 | 5868 | 139.1851 | <100
|  |  |  | 2014-05-19 | HAB 17 | No NA1 Spots Detected | 9527 | 537 | 8823 | 10415 | 6255 | 153.683 | <100
|  |  |  | 2014-05-20 | HAB 18 | No NA1 Spots Detected / High Background | 11611 | 817 | 10366 | 13068 | 7584 | 210.3688 | <100 |  | High Background, No spots visible
|  |  |  | 2014-05-21 | HAB 19 | NA1 Spots Detected | 23531 | 1925 | 19961 | 26188 | 8715 | 534.5991 | 535
|  |  |  | 2014-05-22 | HAB 20 | NA1 Spots Detected | 21858 | 1486 | 19830 | 24480 | 8340 | 489.0926 | 489
|  |  |  | 2014-05-23 | HAB 21 | NA1 Spots Detected | 21581 | 1896 | 16933 | 23261 | 8172 | 481.558 | 482
|  |  |  | 2014-05-26 | HAB 22 | No NA1 Spots Detected | 10340 | 795 | 9112 | 11953 | 6246 | 175.797 | <100
|  |  |  | 2014-05-27 | HAB 23 | NA1 Spots Detected | 14130 | 860 | 12480 | 15539 | 6194 | 278.887 | 279
|  |  |  | 2014-05-28 | HAB 24 | NA1 Spots Detected | 16391 | 1268 | 14439 | 18027 | 8914 | 340.3873 | 340 |  | High Background, spots detected
|  |  |  | 2014-05-29 | HAB 25 | No NA1 Spots Detected | 9142 | 573 | 8064 | 10216 | 6476 | 143.2107 | <100
|  |  |  | 2014-05-30 | HAB 26 | NA1 Spots Detected | 11367 | 481 | 10620 | 12072 | 6700 | 203.7319 | 204
|  |  |  | 2014-06-02 | HAB 27
|  |  |  | 2014-06-03 | HAB 28
|  |  |  | 2014-06-04 | HAB 29
|  |  |  | 2014-06-05 | HAB 30
|  |  |  | 2014-06-06 | HAB 31
|  |  |  | 2014-06-09 | HAB 32
|  |  |  | 2014-06-10 | HAB 33
|  |  |  | 2014-06-11 | HAB 34
|  |  |  | 2014-06-12 | HAB 35
|  |  |  | 2014-06-13 | HAB 36
|  |  |  | 2014-06-16 | HAB 37
|  |  |  | 2014-06-17 | HAB 38
|  |  |  | 2014-06-18 | HAB 39
|  |  |  | 2014-06-19 | HAB 40
|  |  |  | 2014-06-20 | HAB 41
|  |  |  | 2014-06-23 | HAB 42
|  |  |  | 2014-06-25 | HAB 43
|  |  |  | 2014-06-27 | HAB 44
Note on E3: Ethan Edson: With a 4L field sample volume, the Field Concentration will equal 1/2 of the bench lysate value
Note on T11: Ethan Edson: Cells are formatted so any value less than 0 will display 0 as a value

## ESPdennis
ESPdennis Standard Curve Calibration | [6 empty] | Field Sample Calculations | [8 empty] | ESPdon 2014 Time Series Chart
[7 empty] | Linear Regression Equation |  |  | y = mx+b
[7 empty] | ESPdennis Regression Equation |  |  | y = 33.18x + 3050.5
Probe | Standards (cells/ml lysate) | Field Concentration (Cells/L) | NA1 Spot Intensity | [5 empty] | y = | Spot Intensity
NA1 | 0 | 0 | 3504.2214 | [5 empty] | m = | 33.18
NA1 | 156 | 78 | 6177.9214 | [5 empty] | b = | 3050.5
NA1 | 313 | 156 | 7919.7929 | [5 empty] | x = | Field Concentration (Cells/L)
NA1 | 625 | 313 | 13828.5071
NA1 | 1250 | 625 | 21817.5143
NA1 | 2500 | 1250 | 45417.2429 |  |  |  | 2014 Deployment Results
|  |  |  | Date of Sample | Assay # | Descriptive Result of Array | NA1 Spot Intensity Mean | NA1 Spot STDEV | NA1 Spot Minimum | NA1 Spot Maximum | Background Average | Calculated Field Concentration (Cells/L) | Plotted Field Concentration (Cells/L) | Ground Truth Results (Cells/L) | Comments
|  |  |  | 2014-05-03 | HAB 4 | No NA1 Spots Detected | 5041 | 236 | 4603 | 5546 | 3867 | 59.991 | <100
|  |  |  | 2014-05-05 | HAB 5 | No NA1 Spots Detected | 4857 | 731 | 3871 | 6041 | 3659 | 54.4454 | <100
|  |  |  | 2014-05-06 | HAB 6 | Very Slight Detection of NA1 with ImajeJ Adjustment | 4599 | 522 | 4092 | 5919 | 3661 | 46.6697 | 46.6697
|  |  |  | 2014-05-07 | HAB 7 | Slight Detection of NA1 with ImajeJ Adjustment | 5017 | 364 | 4584 | 5678 | 3853 | 59.2676 | 59
|  |  |  | 2014-05-08 | HAB 8 | No NA1 Spots Detected | 5244 | 422 | 4762 | 6262 | 3987 | 66.1091 | <100
|  |  |  | 2014-05-09 | HAB 9 | Detection of NA1 with ImajeJ Adjustment | 4900 | 298 | 4482 | 5486 | 3715 | 55.7414 | 56
|  |  |  | 2014-05-12 | HAB 10 | No NA1 Spots Detected | 6541 | 992 | 5328 | 9020 | 4136 | 105.1989 | <100 |  | Light Contamination may affect result
|  |  |  | 2014-05-13 | HAB 11 | Detection of NA1 with ImajeJ Adjustment | 5110 | 234 | 4860 | 5728 | 3890 | 62.0705 | 62
|  |  |  | 2014-05-14 | HAB 12 | Detection of NA1 with ImajeJ Adjustment | 6097 | 466 | 5444 | 6679 | 4095 | 91.8174 | 92
|  |  |  | 2014-05-15 | HAB 13 | No NA1 Spots Detected | 4965 | 650 | 4236 | 6357 | 3930 | 57.7004 | <100
|  |  |  | 2014-05-16 | HAB 14 | No NA1 Spots Detected | 6555 | 467 | 5482 | 7248 | 4896 | 105.6209 | <100
|  |  |  | 2014-05-19 | HAB 15 | No NA1 Spots Detected | 5670 | 415 | 5028 | 6380 | 4107 | 78.9482 | <100 |  | Carousel Overcurrent, Array Image late and compromised
|  |  |  | 2014-05-20 | HAB 16 | Slight Detection of NA1 with ImajeJ Adjustment | 6417 | 397 | 5834 | 7029 | 4566 | 101.4617 | 101
|  |  |  | 2014-05-21 | HAB 17 | No NA1 Spots Detected | 7205 | 351 | 6737 | 7834 | 4888 | 125.211 | <100
|  |  |  | 2014-05-22 | HAB 18 | No NA1 Spots Detected | 6683 | 450 | 6025 | 7552 | 4857 | 109.4786 | <100
|  |  |  | 2014-05-23 | HAB 19 | Detection of NA1 with ImajeJ Adjustment | 7240 | 529 | 6413 | 8067 | 5073 | 126.2658 | 126
|  |  |  | 2014-05-26 | HAB 20 | Very Slight Detection of NA1 with ImajeJ Adjustment | 7075 | 596 | 6079 | 8610 | 4718 | 121.2929 | 121
|  |  |  | 2014-05-27 | HAB 21 | Detection of NA1 Spots | 8095 | 660 | 7157 | 9123 | 5204 | 152.0344 | 152
|  |  |  | 2014-05-28 | HAB 22 | No Image | NA | NA | NA | NA | NA | NA | NA |  | Carousel Overcurrent, Image late and Compromised
|  |  |  | 2014-05-29 | HAB 23 | Detection of NA1 Spots | 7194 | 438 | 6625 | 7921 | 4663 | 124.8794 | 125
|  |  |  | 2014-05-30 | HAB 24 | Detection of NA1 Spots | 6403 | 269 | 5957 | 6953 | 4646 | 101.0398 | 101
|  |  |  | 2014-06-02 | HAB 25
|  |  |  | 2014-06-03 | HAB 26
|  |  |  | 2014-06-04 | HAB 27
|  |  |  | 2014-06-05 | HAB 28
|  |  |  | 2014-06-06 | HAB 29
|  |  |  | 2014-06-09 | HAB 30
|  |  |  | 2014-06-10 | HAB 31
|  |  |  | 2014-06-11 | HAB 32
|  |  |  | 2014-06-12 | HAB 33
|  |  |  | 2014-06-13 | HAB 34
|  |  |  | 2014-06-16 | HAB 35
|  |  |  | 2014-06-17 | HAB 36
|  |  |  | 2014-06-18 | HAB 37
|  |  |  | 2014-06-19 | HAB 38
|  |  |  | 2014-06-20 | HAB 39
|  |  |  | 2014-06-23 | HAB 40
|  |  |  | 2014-06-24 | HAB 41
|  |  |  | 2014-06-25 | HAB 42
|  |  |  | 2014-06-26 | HAB 43
|  |  |  | 2014-06-27 | HAB 44
Note on E4: Ethan Edson: With a 4L field sample volume, the Field Concentration will equal 1/2 of the bench lysate value
Note on T11: Ethan Edson: Cells are formatted so any value less than 0 will display 0 as a value

## ESPjake
ESPjake Standard Curve Calibration | [6 empty] | Field Sample Calculations
[7 empty] | Linear Regression Equation |  |  | y = mx+b
Probe | Standards (cells/ml lysate) | Field Concentration (Cells/L) | NA1 Spot Intensity |  |  |  | ESPdennis Regression Equation |  |  | y = 40.736x + 6382.1
NA1 | 0 | 0 | 4752.9214 | [5 empty] | y = | Spot Intensity
NA1 | 78 | 36 | 6950.4929 | [5 empty] | m = | 40.736
NA1 | 156 | 78 | 8663.9214 | [5 empty] | b = | 6382.1
NA1 | 313 | 156 | 12278.55 | [5 empty] | x = | Field Concentration (Cells/L)
NA1 | 625 | 313 | 20182.4286
NA1 | 1250 | 625 | 37751.6857
NA1 | 2500 | 1250 | 54222.6286 |  |  |  | 2014 Deployment Results
|  |  |  | Date of Sample | Assay # | Descriptive Result of Array | NA1 Spot Intensity Mean | NA1 Spot STDEV | NA1 Spot Minimum | NA1 Spot Maximum | Background Average | Calculated Field Concentration (Cells/L) | Plotted Field Concentration (Cells/L) | Ground Truth Results (Cells/L) | Comments
|  |  |  | 2014-05-02 |  | No NA1 Spots Detected / High Background | 12994 | 3445 | 8788 | 23421 | 9111 | 162.311 | <100 |  | High Background causing high cell calculation
|  |  |  | 2014-05-05 |  | NA1 Spots detected with ImajeJ Adjustment | 5997 | 205 | 5742 | 6334 | 4918 | -9.4536 | -9.4536
|  |  |  | 2014-05-06 |  | No NA1 Spots Detected | 6710 | 306 | 6118 | 7340 | 5072 | 8.0494 | <100
|  |  |  | 2014-05-07 |  | No NA1 Spots Detected | 7953 | 372 | 7305 | 8549 | 5661 | 38.5629 | <100
|  |  |  | 2014-05-09 |  | No NA1 Spots Detected | 6632 | 230 | 6179 | 6979 | 5208 | 6.1346 | <100
|  |  |  | 2014-05-12 |  | No NA1 Spots Detected | 7676 | 372 | 7244 | 9794 | 5975 | 31.7631 | <100
|  |  |  | 2014-05-14 |  | No NA1 Spots Detected | 7966 | 422 | 7255 | 8629 | 5912 | 38.8821 | <100
|  |  |  | 2014-05-16 |  | Na1 Spots Detected | 9232 | 790 | 8187 | 10993 | 6381 | 69.9602 | 69.9602
|  |  |  | 2014-05-19 |  | Na1 Spots Detected | 10096 | 598 | 9113 | 10972 | 5974 | 91.17 | 91.17
|  |  |  | 2014-05-20 |  | Na1 Spots Detected | 11137 | 536 | 10260 | 11929 | 6393 | 116.7248 | 117
|  |  |  | 2014-05-21 |  | Na1 Spots Detected | 36575 | 1915 | 34081 | 40102 | 6551 | 741.1847 | 741
|  |  |  | 2014-05-22 |  | Na1 Spots Detected | 22094 | 905 | 20172 | 24021 | 6236 | 385.7006 | 386
|  |  |  | 2014-05-23 |  | Na1 Spots Detected | 13144 | 1026 | 11571 | 14693 | 7346 | 165.9932 | 166
|  |  |  | 2014-05-26 |  | Na1 Spots Detected | 7545 | 178 | 7139 | 7736 | 5538 | 28.5472 | 29
|  |  |  | 2014-05-28 |  | Na1 Spots Detected | 14533 | 311 | 14062 | 15015 | 6194 | 200.0908 | 200
|  |  |  | 2014-05-30 |  | Na1 Spots Detected | 12520 | 505 | 11831 | 13681 | 5684 | 150.6751 | 151
2014-06-02
2014-06-04
2014-06-06
2014-06-09
2014-06-11
2014-06-13
2014-06-16
2014-06-17
2014-06-18
2014-06-19
2014-06-20
2014-06-23
2014-06-25
Note on E3: Ethan Edson: With a 4L field sample volume, the Field Concentration will equal 1/2 of the bench lysate value
Note on U11: Ethan Edson: Cells are formatted so any value less than 0 will display 0 as a value

## ESProman
ESProman | ESProman Standard Curve Calibration | [6 empty] | Field Sample Calculations
[8 empty] | Linear Regression Equation |  |  | y = mx+b
| Probe | Standards (cells/ml lysate) | Field Concentration (Cells/L) | NA1 Spot Intensity |  |  |  | ESPdennis Regression Equation |  |  | y = 41.054x + 2977.2
| NA1 | 0 | 0 | 3290 | [5 empty] | y = | Spot Intensity
| NA1 | 78 | 36 | 4636 | [5 empty] | m = | 41.054
| NA1 | 156 | 78 | 7183 | [5 empty] | b = | 2977.2
| NA1 | 313 | 156 | 7482 | [5 empty] | x = | Field Concentration (Cells/L)
| NA1 | 625 | 313 | 16143
| NA1 | 1250 | 625 | 28629
| NA1 | 2500 | 1250 | 54389 |  |  |  | 2014 Deployment Results
[5 empty] | Date of Sample | Assay # | Descriptive Result of Array | NA1 Spot Intensity Mean | NA1 Spot STDEV | NA1 Spot Minimum | NA1 Spot Maximum | Background Average | Calculated Field Concentration (Cells/L) | Ground Truth Results (Cells/L) | Comments
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
-72.5191
Note on T11: Ethan Edson: Cells are formatted so any value less than 0 will display 0 as a value

## Combined Time Series
ESP deployment data for NA1 Alexandrium probe 2014
If no NA1 spots were visually detected on the array, then the estimate from the array value was plotted as <100 (data point on the baseline)
If weak NA1 spots were visually detected and the estimated value from the array was >0, then that value was plotted as the actual value
If weak NA1 spots were visually detected and the raw array value was <0, then that value was plotted as 0 (on baseline but not <100 as above)
The grey box indicates that even though weak positive spots may be present, the estimate of the field population is very low and considered below the detection limit of ESP @ about 100 cells/L
| ESP-1 (don) data |  | ESP-2 (Jake) data |  | ESP-3 (dennis) data
| Date | Plotted Cell Concentration (Cells/L) | Date | Plotted Cell Concentration (Cells/L) | Date | Plotted Cell Concentration (Cells/L)
| 2014-05-02 | <100 | 2014-05-02 | <100 | 2014-05-03 | <100
| 2014-05-03 | 71.3198 | 2014-05-05 | -9.4536 | 2014-05-05 | <100
| 2014-05-04 | 113.8342 | 2014-05-06 | <100 | 2014-05-06 | 46.6697
| 2014-05-05 | 137.7978 | 2014-05-07 | <100 | 2014-05-07 | 59
| 2014-05-06 | <100 | 2014-05-09 | <100 | 2014-05-08 | <100
| 2014-05-07 | 130.9705 | 2014-05-12 | <100 | 2014-05-09 | 56
| 2014-05-08 | 149.7933 | 2014-05-14 | <100 | 2014-05-12 | <100
| 2014-05-09 | <100 | 2014-05-16 | 70 | 2014-05-13 | 62
| 2014-05-12 | <100 | 2014-05-19 | 91 | 2014-05-14 | 92
| 2014-05-13 | 157.0558 | 2014-05-20 | 117 | 2014-05-15 | <100
| 2014-05-14 | 205.3911 | 2014-05-21 | 741 | 2014-05-16 | <100
| 2014-05-15 | <100 | 2014-05-22 | 386 | 2014-05-19 | <100
| 2014-05-16 | <100 | 2014-05-23 | 166 | 2014-05-20 | 101
| 2014-05-19 | <100 | 2014-05-26 | 29 | 2014-05-21 | <100
| 2014-05-20 | <100 | 2014-05-28 | 200 | 2014-05-22 | <100
| 2014-05-21 | 535 | 2014-05-30 | 151 | 2014-05-23 | 126
| 2014-05-22 | 489 | 2014-06-02 |  | 2014-05-26 | 121
| 2014-05-23 | 482 | 2014-06-04 |  | 2014-05-27 | 152
| 2014-05-26 | <100 | 2014-06-06 |  | 2014-05-29 | 125
| 2014-05-27 | 279 | 2014-06-09 |  | 2014-05-30 | 101
| 2014-05-28 | 340 | 2014-06-11 |  | 2014-06-02
| 2014-05-29 | <100 | 2014-06-13 |  | 2014-06-03
| 2014-05-30 | 204 | 2014-06-16 |  | 2014-06-04
| 2014-06-02 |  | 2014-06-17 |  | 2014-06-05
| 2014-06-03 |  | 2014-06-18 |  | 2014-06-06
| 2014-06-04 |  | 2014-06-19 |  | 2014-06-09
| 2014-06-05 |  | 2014-06-20 |  | 2014-06-10
| 2014-06-06 |  | 2014-06-23 |  | 2014-06-11
| 2014-06-09 |  | 2014-06-25 |  | 2014-06-12
| 2014-06-10 |  |  |  | 2014-06-13
| 2014-06-11 |  |  |  | 2014-06-16
| 2014-06-12 |  |  |  | 2014-06-17
| 2014-06-13 |  |  |  | 2014-06-18
| 2014-06-16 |  |  |  | 2014-06-19
| 2014-06-17 |  |  |  | 2014-06-20
| 2014-06-18 |  |  |  | 2014-06-23
| 2014-06-19 |  |  |  | 2014-06-24
| 2014-06-20 |  |  |  | 2014-06-25
| 2014-06-23 |  |  |  | 2014-06-26
| 2014-06-25 |  |  |  | 2014-06-27
2014-06-27
Below Detection Limit