Outliers – EDDIES nutrient data

Hi Paul,

As per our discussion, here is the list of outliers we’d like to investigate:

Cruise OC404-1, Survey 1:

Sample		Station		Depth		PO4 (uM)	Notes (*: biggest flyers)

84		7		100		0.49		DJM added

108		9		100		0.91		DJM added

177		13		40		0.56669 	*(C2 section)

217		16		300		0.84		DJM added

300		23		70		0.32882

307		23		300		0.41		DJM added

308		23		500		0.27		DJM added

438		33		100		0.73071	*

475		36		0		0.6113		*

709		52		120		0.52535

713		52		500		0.94614

725		53		140		0.57478

840		62		70		0.49183	(C1 cross section S3)

842		62		90		1.0166		*(C1 cross section S3)

Sample		Station		Depth		NO3+NO2 (uM)	Notes

307		23		300		8.72		DJM added

308		23		500		4.17		DJM added

530		40		140		0.45144

531		40		200		0.45999		*

532		40		300		0.46892

533		40		500		0.53478		*

534		40		700		0.67694		*

700		52		0		0.38333

702		52		40		0.49025		*

712		52		300		0			  !!! Leaker

718		53		50		0.28974		*

719		53		60		0.26846		*

720		53		70		0.34087		*

840		62		70		9.5218			(C1 cross section S3)

842		62		90		18.4023		*  (C1 cross section S3)

Sample		Station		Depth		Si (uM)	Notes

307		23		300		2.9		DJM added

308		23		500		1.3		DJM added

499		37		120		1.3826		*

545		41		140		1.5277		*

598		45		50		1.6005		*

599		45		60		1.1736		*

727		53		300		0		*

770		57		140		6.0115		(C1 cross section S3)

803		59		500		2.3864		(C1 cross section S3)

804		59		700		5.3723		(C1 cross section S3)

814		60		120		1.945		(C1 cross section S3)

840		62		70		3.0021		(C1 cross section S3)

842		62		90		8.5347		* (C1 cross section S3)

** There is a similar anomalous trend in nitrate, phosphate, and silicate in 300m and 500m samples at station 23.  Is it possible that these two samples were swapped?

Cruise OC404-4, Survey 2:

Silicate=7.4067, depth 300m, Station# 44, Sample# 613

Phosphate=1.9724, depth 500m, Station# 29, Sample# 403

Phosphate=1.1631, depth 120m, Station# 43, Sample# 595

Phosphate=0, depth 700m, Station# 46, Sample# 645

Phosphate=0.05, depth 700m, Station# 57, Sample# 780

Nitrate+Nitrite=11.6873, depth 700m, Station# 21, Sample# 300

Nitrite=2.3073, depth 700m, Station# 3, Sample# 45

General question on nitrite: samples for which NO2>NO3+NO2 were flagged in red as being below the detection limit.  However, there are red-flagged values with concentrations as high as 0.9 micromolar, which seems quite high.  If we were to take 0.9 as the detection limit in this case, almost all of the data are BDL.

Hope you have a good trip to Panama.  When you get back, perhaps we should get together to discuss all this.

Cheers,

Dennis