CTD and LADCP Station Log

R/V-OCEANUS Cruise 401  Site W

April 27 – May 6, 2004

CTD serial numbers:

# P:_______   T(prim):_______   T(2nd):_______   C(prim):_______   C(2nd):_______   O: _______

| Station No. |  |  | Operator: |  |  |
| --- | --- | --- | --- | --- | --- |
| CTD File No. |  |  | Date: |  | Time: |
| Nominal Position: | N | Uncorrected Depth |  | Corrected Depth |  |
|  | W |  |  |  |  |

| BE SURE LADCP LOGGING HAS BEEN STARTED???? | YES | NO |
| --- | --- | --- |

NOTE: For LADCP processing: please record lat/lon minutes to four places

|  | pressure | GMT | lat. N | long. W | Depth(m) |
| --- | --- | --- | --- | --- | --- |
| In water |  |  |  |  |  |
| Start down |  |  |  |  |  |
| Deepest |  |  |  |  |  |
| At surface |  |  |  |  |  |
| stop ctd acq |  |  |  |  |  |

# Knudson:   Turn off at ~1000m from the bottom on the downcast	 yes	 no

Altimeter at bottom:_____		Wire out:______

| LADCP BB150KHz | LADCP # ________ | LADCP # ________ |
| --- | --- | --- |
| Start LADCP logging software: |  |  |
| Previous station has been BACKED UP (Y/N) |  |  |
| # Start Program BBSC and note the following: |  |  |
| Erased Memory (Y/N) |  |  |
| Begin ADCP Deployment Time (GMT) |  |  |
| Turned OFF Battery Charger (Y/N) |  |  |
| Disconnected Charging Cable & Attached Dummy Plug (Y/N) |  |  |
| Removed Battery Vent Hose & Replaced Vent Plug (Y/N) |  |  |
| # LADCP Data Recovery On Deck |  |  |
| Verify Charger is turned OFF Before Reconnecting (Y/N) |  |  |
| ADCP is Pinging (Y/N) |  |  |
| Data Cable Connected (Y/N) |  |  |
| Wash and Dry battery vent plug (Y/N) |  |  |
| Remove plug and insert vent hose (Y/N) |  |  |
| # LADCP Back in the Lab |  |  |
| # Begin Recharge (Y/N) |  |  |
| # On LADCP Acquisition PC # (still running BBSC) |  |  |
| # End Deployment Time (GMT) |  |  |
| # Memory Free |  |  |
| # Memory Used |  |  |
| # Deployments Available |  |  |
| # Begin Data Dump (Y/N) |  |  |
| # File Size |  |  |
| # Ensembles Read |  |  |
| # Total Errors |  |  |
| # LADCP data backup |  |  |
| Run script BACKL to backup LADCP data: (Y/N) |  |  |
| Run script NEXTL for next station: (Y/N) |  |  |

# STATION ________           OC 401     SITE W   April 27 – May 6, 2004

| # | target pres. | actual pres. | Temperature (primary) | Salinity (primary) | bot. malf. ? |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |
| 13 |  |  |  |  |  |
| 14 |  |  |  |  |  |
| 15 |  |  |  |  |  |
| 16 |  |  |  |  |  |
| 17 |  |  |  |  |  |
| 18 |  |  |  |  |  |
| 19 |  |  |  |  |  |
| 20 |  |  |  |  |  |
| 21 |  |  |  |  |  |
| 22 |  |  |  |  |  |
| 23 |  |  |  |  |  |
| 24 |  |  |  |  |  |

Knudson:   Turn back on at ~100m on the upcast	                      yes	 no

Comments:

CTD SEABIRD DATA PROCESSING AND BACKUP

Display using scan number and depth.  (Scancheck.dsp)

First good scan number_________

run ctd batch file:		              yes	  no

W_ctd OC401 <3-digit stationnumber> <scan number>

run ladcp batch file:		  yes	  no

W_ladc OC401  <3-digit stationnumber>