29 August 2005

2130 L

Left the dock at 1900 L (2300 Z), 12 hours late, after waiting 5 hours for lube oil and 7 more hours for my air shipment that was refused by the pilot and sent in a container with other gear.  Lauren Yelle-Simmons expedited the gear, which arrived on 25 August, but did not clear customs until today.  The gear was in a container with other goods and Lauren had to negotiate with the primary consignee to expedite getting the gear to us.

Setting up the GC is going slowly.  I believe I started with the wrong column.  I also just burnt up a trap because thermocouple was not measuring the temperature of the tubing and controlling the heater.

30 August 2005

2215 L

Worked on GC all day, able to run standards, trapped.  No water samples yet.  Put first tow in at 2015.

31 August 2005

Analyzed Tow 1 manually.  Peak of vertical profile 25 meters above sled.  Profile broad and messy.

1 September 2005

Worked out automation.  Lots of trouble with profile samples from tow 2  due to getting air in tower and other problems.  Only ran a few samples, some of which were lost to GC problems.  Left the rest ofr tomorrow.

Suspect contamination of the bags from previous cruise.  Had the sampler crew purge them with N2 with 20 ppt sf6 in it.  Then made a tee from the sparge N2 and did a second purge of the bags with this.  Ran carousel samples from tow 2 starting after dinner, ending at 0100.  Lots of sf6, including a broad region with area of order standard 3 and a 2-sample streak twice and 4 times std 3.

2 September 2005

Caught up to samples, running profile 2 before lunch, profile 3 after lunch, Carousel 1 before dinner, and Carousel 2 after dinner, with help from David.  Getting air in the tower sets us back 30 to 60 minutes.  In bed by 2215.  Starting to enter and plot data.  Excellent profile from Cast 3.